## General Summary
GENERAL SUMMARY
Prepared for: | 606 North Mechanic Street, El Campo, Texas 77437
Project ID: | 45905
Scope: | MEP
No. Of Floors: | 1
Date: | 2025-09-08
BUILDING GSF | 2155
DIVISION NO | DESCRIPTION | TOTAL DIV. COST | TOTAL DIV. COST (PER SF)
1000 | General Requirements | 0 | 0
22000 | Plumbing | 0 | 0
23000 | HVAC | 0 | 0
26000 | Electrical | 0 | 0
27000 | Communications | 0 | 0
28000 | Electronics Saftey And Security Devices | 0 | 0
33000 | Utilities | 0 | 0
TOTAL TRADE COST |  | 0 | 0
OVERHEAD AND PROFIT | 15% | 0 | 0
INSURANCE | 0% | 0 | 0
CONTINGENCY | 0% | 0 | 0
TAX | 0% | 0 | 0
SUGGESTED BID |  | 0 | 0

## Takeoff Breakdown
DETAILED BREAKDOWN OF ITEMS
Prepared for: | 606 North Mechanic Street, El Campo, Texas 77437
Project ID: | 45905
Scope: | MEP
[12 empty] | Date: | 2025-09-08
SR # | Drawing # | Detail # | DESCRIPTION | UNIT | QUANTITY | WASTAGE | QUANTITY W/ WASTAGE | UNIT MANHOUR | HOURLY WAGE | LABOR COST | MAT. COST | UNIT COST | SUB COST
GENERAL REQUIREMENTS
1 |  |  | Permits | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
2 |  |  | Supervision and Coordination | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
3 |  |  | Submittals and Shop drawings | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
4 |  |  | Final Cleaning | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
5 |  |  | Mobilization Costs | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
6 |  |  | Temporary Control & Facilities | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
7 |  |  | Scaffolding | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | SUBTOTAL | 0
PLUMBING
PLUMBING PIPING
COLD WATER PIPE (ABOVE GRADE)
| Sheet No # P100, P101, P102, P500, P600 | As Per Plumbing Plans | Cross Linked Pex Pipe W/ Fittings
8 |  |  | 1/2" Dia Cold Water Pipe | LF | 96 | 10% | 105.6 | 0 | 0 | 0 | 0 | 0 | 0
9 |  |  | 3/4" Dia Cold Water Pipe | LF | 135 | 10% | 148.5 | 0 | 0 | 0 | 0 | 0 | 0
10 |  |  | 1" Dia Cold Water Pipe | LF | 28 | 10% | 30.8 | 0 | 0 | 0 | 0 | 0 | 0
FITTINGS:
ELBOW
11 |  |  | 1/2" Dia Cold Water Pipe 90 Deg Elbow | EA | 14 | 0% | 14 | 0 | 0 | 0 | 0 | 0 | 0
12 |  |  | 3/4" Dia Cold Water Pipe 90 Deg Elbow | EA | 15 | 0% | 15 | 0 | 0 | 0 | 0 | 0 | 0
TEE
13 |  |  | 1/2" Dia Cold Water Pipe Tee | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
14 |  |  | 3/4" Dia Cold Water Pipe Tee | EA | 6 | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0
15 |  |  | 3/4" /1/2" Dia Cold Water Pipe Tee | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
16 |  |  | 3/4" /1/2" Dia Cold Water Pipe Reducer | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER PIPE (ABOVE GRADE)
Cross Linked Pex Pipe W/ Fittings
17 |  |  | 1/2" Dia Hot Water Pipe | LF | 235 | 10% | 258.5 | 0 | 0 | 0 | 0 | 0 | 0
18 |  |  | 3/4" Dia Hot Water Pipe | LF | 6 | 10% | 6.6 | 0 | 0 | 0 | 0 | 0 | 0
19 |  |  | 1" Dia Hot Water Pipe | LF | 22 | 10% | 24.2 | 0 | 0 | 0 | 0 | 0 | 0
1" Thick FiberGlass Insulation
20 |  |  | 1/2" Dia Hot Water Pipe | LF | 235 | 10% | 258.5 | 0 | 0 | 0 | 0 | 0 | 0
21 |  |  | 3/4" Dia Hot Water Pipe | LF | 6 | 10% | 6.6 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 1" Dia Hot Water Pipe | LF | 22
FITTINGS:
ELBOW
22 |  |  | 1/2" Dia Hot Water Pipe 90 Deg Elbow | EA | 25 | 0% | 25 | 0 | 0 | 0 | 0 | 0 | 0
23 |  |  | 3/4" Dia Hot Water Pipe 90 Deg Elbow | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
24 |  |  | 1" Dia Hot Water Pipe 90 Deg Elbow | EA | 16 | 0% | 16 | 0 | 0 | 0 | 0 | 0 | 0
TEE
25 |  |  | 1/2" Dia Hot Water Pipe Tee | EA | 6 | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0
26 |  |  | 3/4" Dia Hot Water Pipe Tee | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
27 |  |  | 1" Dia Hot Water Pipe Tee | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER RETURN PIPE (ABOVE GRADE)
Cross Linked Pex Pipe W/ Fittings
28 |  |  | 1/2" Dia Hot Return Water Pipe | LF | 32 | 10% | 35.2 | 0 | 0 | 0 | 0 | 0 | 0
1" Thick FiberGlass Insulation
29 |  |  | 1/2" Dia Hot Return Water Pipe | LF | 32 | 10% | 35.2 | 0 | 0 | 0 | 0 | 0 | 0
FITTINGS:
ELBOW
30 |  |  | 1/2" Dia Hot Return Water Pipe 90 Deg Elbow | EA | 9 | 0% | 9 | 0 | 0 | 0 | 0 | 0 | 0
TEE
31 |  |  | 1/2" Dia Hot Return Water Pipe Tee | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
REVERSE OSMOSIS PIPE (ABOVE GRADE)
Cross Linked Pex Pipe W/ Fittings
32 |  |  | 1/2" Dia Reverse Osmosis Pipe | LF | 164 | 10% | 180.4 | 0 | 0 | 0 | 0 | 0 | 0
33 |  |  | 3/4" Dia Reverse Osmosis Pipe | LF | 109 | 10% | 119.9 | 0 | 0 | 0 | 0 | 0 | 0
34 |  |  | 1" Dia Reverse Osmosis Pipe | LF | 164 | 10% | 180.4 | 0 | 0 | 0 | 0 | 0 | 0
3/4" Thick Ruba Tex Insulation
35 |  |  | 1/2" Dia Reverse Osmosis Pipe | LF | 164 | 10% | 180.4 | 0 | 0 | 0 | 0 | 0 | 0
36 |  |  | 3/4" Dia Reverse Osmosis Pipe | LF | 109 | 10% | 119.9 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 1" Dia Reverse Osmosis Pipe | LF | 164
FITTINGS:
ELBOW
37 |  |  | 1/2" Dia Reverse Osmosis Pipe 90 Deg Elbow | EA | 24 | 0% | 24 | 0 | 0 | 0 | 0 | 0 | 0
38 |  |  | 3/4" Dia Reverse Osmosis Pipe 90 Deg Elbow | EA | 10 | 0% | 10 | 0 | 0 | 0 | 0 | 0 | 0
39 |  |  | 1" Dia Reverse Osmosis Pipe 90 Deg Elbow | EA | 11 | 0% | 11 | 0 | 0 | 0 | 0 | 0 | 0
TEE
40 |  |  | 1/2" Dia Reverse Osmosis Pipe Tee | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
41 |  |  | 3/4" Dia Reverse Osmosis Pipe Tee | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
42 |  |  | 1" Dia Reverse Osmosis Pipe Tee | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
43 |  |  | 3/4" / 1/2" Dia Reverse Osmosis Pipe Tee | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
44 |  |  | 1" / 3/4" Dia Reverse Osmosis Pipe Tee | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
45 |  |  | 3/4" / 1/2" Dia Reverse Osmosis Pipe Reducer | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
46 |  |  | 1" / 1/2" Dia Reverse Osmosis Pipe Reducer | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
47 |  |  | 1" / 3/4" Dia Reverse Osmosis Pipe Reducer | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
WASTE PIPE (BELOW GRADE)
SCHD-40, PVC Pipe W/ Fittings CISPI 301, ASTM A 888
48 |  |  | 2" Dia Waste Pipe | LF | 8 | 10% | 8.8 | 0 | 0 | 0 | 0 | 0 | 0
49 |  |  | 3" Dia Waste Pipe | LF | 148 | 10% | 162.8 | 0 | 0 | 0 | 0 | 0 | 0
50 |  |  | 4" Dia Waste Pipe | LF | 87 | 10% | 95.7 | 0 | 0 | 0 | 0 | 0 | 0
FITTINGS:
ELBOW
51 |  |  | 2" Dia Waste Pipe 45 Deg Elbow | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
52 |  |  | 3" Dia Waste Pipe 45 Deg Elbow | EA | 34 | 0% | 34 | 0 | 0 | 0 | 0 | 0 | 0
53 |  |  | 4" Dia Waste Pipe 45 Deg Elbow | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
WYE
54 |  |  | 2" Dia Waste Pipe Wye | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
55 |  |  | 3" Dia Waste Pipe Wye | EA | 8 | 0% | 8 | 0 | 0 | 0 | 0 | 0 | 0
56 |  |  | 4" Dia Waste Pipe Wye | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
57 |  |  | 4" / 3" Dia Waste Pipe Wye | EA | 6 | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0
58 |  |  | 3" / 2" Dia Waste Pipe Wye | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
59 |  |  | 3" / 2" Dia Waste Pipe Reducer | EA | 9 | 0% | 9 | 0 | 0 | 0 | 0 | 0 | 0
GREASE WASTE PIPE (BELOW GRADE)
SCHD-40, PVC Pipe W/ Fittings CISPI 301, ASTM A 888
60 |  |  | 3" Dia Grease Waste Pipe | LF | 85 | 10% | 93.5 | 0 | 0 | 0 | 0 | 0 | 0
61 |  |  | 4" Dia Grease Waste Pipe | LF | 53 | 10% | 58.3 | 0 | 0 | 0 | 0 | 0 | 0
FITTINGS:
ELBOW
62 |  |  | 3" Dia Grease Waste Pipe 45 Deg Elbow | EA | 25 | 0% | 25 | 0 | 0 | 0 | 0 | 0 | 0
63 |  |  | 4" Dia Grease Waste Pipe 45 Deg Elbow | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
WYE
64 |  |  | 3" Dia Grease Waste Pipe Wye | EA | 8 | 0% | 8 | 0 | 0 | 0 | 0 | 0 | 0
65 |  |  | 4" / 3" Dia Grease Waste Pipe Wye | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
66 |  |  | 3" / 2" Dia Grease Waste Pipe Reducer | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
DRAIN LINE PIPE (BELOW GRADE)
SCHD-40, PVC Pipe W/ Fittings CISPI 301, ASTM A 888
67 |  |  | 1-1/2" Dia Drain Line Pipe | LF | 163 | 10% | 179.3 | 0 | 0 | 0 | 0 | 0 | 0
FITTINGS:
ELBOW
68 |  |  | 1-1/2" Dia Drain Line Pipe 45 Deg Elbow | EA | 97 | 0% | 97 | 0 | 0 | 0 | 0 | 0 | 0
TEE
69 |  |  | 1-1/2" Dia Drain Line Pipe Wye | EA | 7 | 0% | 7 | 0 | 0 | 0 | 0 | 0 | 0
VENT PIPE (ABOVE GRADE)
Material:
70 |  |  | 2" Dia Vent Pipe | LF | 280 | 10% | 308 | 0 | 0 | 0 | 0 | 0 | 0
71 |  |  | 3" Dia Vent Pipe | LF | 29 | 10% | 31.9 | 0 | 0 | 0 | 0 | 0 | 0
FITTINGS:
ELBOW
72 |  |  | 2" Dia Vent Pipe 90 Deg Elbow | EA | 28 | 0% | 28 | 0 | 0 | 0 | 0 | 0 | 0
73 |  |  | 2" Dia Vent Pipe 45 Deg Elbow | EA | 6 | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0
TEE
74 |  |  | 2" Dia Vent Pipe Tee | EA | 10 | 0% | 10 | 0 | 0 | 0 | 0 | 0 | 0
75 |  |  | 3" Dia Vent Pipe Tee | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
76 |  |  | 3" / 2" Dia Vent Pipe Reducer | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
CONDENSATE DRAIN (ABOVE GRADE)
SCHD-40, PVC Pipe W/ Fittings CISPI 301, ASTM A 888
77 |  |  | 3/4" Dia Condensate Drain Pipe | LF | 12 | 10% | 13.2 | 0 | 0 | 0 | 0 | 0 | 0
78 |  |  | 1" Dia Condensate Drain Pipe | LF | 92 | 10% | 101.2 | 0 | 0 | 0 | 0 | 0 | 0
1/2" Thick Fiber Glass Insulation
79 |  |  | 3/4" Dia Condensate Drain Pipe | LF | 12 | 10% | 13.2 | 0 | 0 | 0 | 0 | 0 | 0
80 |  |  | 1" Dia Condensate Drain Pipe | LF | 92 | 10% | 101.2 | 0 | 0 | 0 | 0 | 0 | 0
FITTINGS:
ELBOW
81 |  |  | 3/4" Dia Condensate Drain Pipe 90 Deg Elbow | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
82 |  |  | 1" Dia Condensate Drain Pipe 90 Deg Elbow | EA | 9 | 0% | 9 | 0 | 0 | 0 | 0 | 0 | 0
83 |  |  | 1" Dia Condensate Drain Pipe 45 Deg Elbow | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
TEE
84 |  |  | 1" Dia Condensate Drain Pipe Tee | EA | 7 | 0% | 7 | 0 | 0 | 0 | 0 | 0 | 0
GAS PIPE (ABOVE GRADE)
SCHD-40, Black Steel Pipe W/ Fittings
85 |  |  | 3/4" Dia Gas Pipe | LF | 64 | 10% | 70.4 | 0 | 0 | 0 | 0 | 0 | 0
86 |  |  | 1" Dia Gas Pipe | LF | 30 | 10% | 33 | 0 | 0 | 0 | 0 | 0 | 0
FITTINGS:
ELBOW
87 |  |  | 3/4" Gas Pipe 90 Deg Elbow | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
88 |  |  | 1" Dia Gas Pipe 90 Deg Elbow | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
TEE
89 |  |  | 1" Dia Gas Pipe Tee | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
90 |  |  | 1" / 3/4" Gas Pipe Tee | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
91 |  |  | 1" / 3/4" Gas Pipe Reducer | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
PLUMBING FIXTURES
92 |  |  | WC-1: Water Closet, MFGR: SLOAN 8029 8113, Shall Be Elongated Style, 17" High, 1.6 Gallon Flush, Siphon Jet Bottom Outlet. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
93 |  |  | LAV-1: Wall Mounted Lavatory ADA, SLOAN 3873055 CHICAGO FAUCET A420-E2805-717AB MILFAB MC-41, 4" Centers, ADA Compliant, 0.95 GPM, Volume And Hot Water Limit Stop. Provide With Concealed Arm Carrier Mount, ADA P-Trap, And Mixing Valve. Coordinate Wall Support Requirements With General Trades Contractor. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
94 |  |  | FS-1: Floor Sink, MFGR: SIOUX CHIEF 861-3PDW2, 11"X11"X7" Deep PVC Anchor Flange With Seepage Holes And Clamp Collar, PVC Frame With 1/2 Grate. | EA | 7 | 0% | 7 | 0 | 0 | 0 | 0 | 0 | 0
95 |  |  | MS-1: Floor Mounted Mop Sink,, MFGR: MUSTEE 63M 63.600A, 24" x 24" x 10" With Service Sink Faucet, Install At Watts 15/7 or Equal. Constant Pressure Backflow Preventer On New Hose Bibs Near Fixtures. Provide With Hose and Hose Holder and Wall Two Guards. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
96 |  |  | 3/4" Dia HB-1: Hose Bibb, MFGR: WOODFORD 17, Freeze less, Anti-Siphon ASSE 1019 Listed. | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
97 |  |  | 3/4" Dia SA: Shock Arrestor, (Schedule Are Not Given) | EA | 8 | 0% | 8 | 0 | 0 | 0 | 0 | 0 | 0
98 |  |  | 1/2" Dia SA: Shock Arrestor, (Schedule Are Not Given) | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
PLUMBING EQUIPMENT
99 |  |  | RP-1: Recirculation Pump, MFGR: TACO 008-IQSF6, 1/25 HP, 115V 1 PH, 0–15 GPM Flow @ 0–15 Ft. Head Range. Provide With 24/7 Time Clock And Aquastat Control. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
100 |  |  | BP: Booster Pump, (Schedule Are Not Given) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
101 |  |  | ROST: Reverse Osmosis Tank, (Schedule Are Not Given) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
102 |  |  | WH-1: Water Heater, MFGR: RHEEM ELD30-TB, 30 Gallon Storage, 208 Volt, Single Phase, 4.5 KW Simultaneous Operation (9.0 kW total), 46 GPH @ 80°F Rise. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
103 |  |  | ET: Expansion Tank, MFGR: PROFLO.. PFXT5I. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
DOMESTIC WATER HEATER AND ACCESSORIES:
104 |  |  | 3/4" Dia T&P Relief Valve | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
105 |  |  | 1" Dia Gate Valve | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
106 |  |  | 1" Dia Union | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
107 |  |  | 1" Dia Drain Line | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
GAS CONNECTION ACCESSORIES:
108 |  |  | 3/4" Dia Gate Valve | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
109 |  |  | Dirt Leg | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
CIRCULATING PUMP ACCESSORIES:
110 |  |  | 3/4" Dia Union | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
111 |  |  | Strainer | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
112 |  |  | Aquastat | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
113 |  |  | 3/4" Dia Plug Valve | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
114 |  |  | 3/4" Dia Ball Valve | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
115 |  |  | 3/4" Dia Check Valve | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
ICE MACHINE CONNECTION ACCESSORIES:
116 |  |  | Strainer | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
117 |  |  | 3/4" Dia Shut Off Valve | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
118 |  |  | 3/4" Dia Check Valve | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
MISCELLANEOUS
CLEANOUTS & DRAINS
119 |  |  | 3" Dia FD-1: Floor Drain, MFGR: F1103-6-1-C-7, Cast Iron Body, Membrane Clamp, Adjustable Collar, 6" Diameter, Type "B" Polished Nickel Bronze Strainer, 1/2" Trap Seal Unless Restricted By Local Codes. Then Provide Trap Primer Connection And Associated Piping. | EA | 7 | 0% | 7 | 0 | 0 | 0 | 0 | 0 | 0
120 |  |  | 3" Dia FD-2: Floor Drain, MFGR: F1103-6-1-C-7-F4, Cast Iron Body, Membrane Clamp, Adjustable Collar, 6" Diameter, Type "B" Polished Nickel Bronze Strainer, 1/2" Trap Seal Unless Restricted By Local Codes. Then Provide Trap Primer Connection And Associated Piping. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
121 |  |  | 3" Dia WCO: Wall Cleanout, MFGR: MIFAB C146-RD-6, Raised Head Plug Polish SS Cover Vandal Proof Screw. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
122 |  |  | 4" Dia WCO: Wall Cleanout, MFGR: MIFAB C146-RD-6, Raised Head Plug Polish SS Cover Vandal Proof Screw. | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
123 |  |  | 4" Dia FCO: Floor Cleanout, MFGR: MIFAB C1102-R-1, Adjustable Coated Cast Iron Body Round Scoriated Nickel Bronze Plug. | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
124 |  |  | 4" Dia ECO: Exterior Cleanout, (Schedule Are Not Given) | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
VALVES
125 |  |  | 1/2" Dia TMV-1: Thermostatic Mixing Valve, MFGR: LEONARD 170A-LF-BP-CP, Thermostatic Mixing Valve, Mount Valve Exposed Below Fixture. Provide With Chrome Finish. Set Temperature To 110°F. | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
126 |  |  | 3/4" Dia Gas Cock Valve | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
127 |  |  | 3/4" Dia Ball Valve | EA | 20 | 0% | 20 | 0 | 0 | 0 | 0 | 0 | 0
128 |  |  | 1/2" Dia Ball Valve | EA | 6 | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0
TRAP PRIMER
129 |  |  | 1-1/2" Dia TP-1: Trap Primer, MFGR: MIFAB MIGARD. | EA | 8 | 0% | 8 | 0 | 0 | 0 | 0 | 0 | 0
VENT THROUGH ROOF
130 |  |  | 3" Dia VTR: Vent Through Roof | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
TRENCHING & BACKFILLING
131 |  |  | Excavation & Backfilling (2' Deep x 1' Wide Trench) Including All Labor and Material/Equipment | CFT | 1632 | 10% | 1795.2 | 0 | 0 | 0 | 0 | 0 | 0
ALLOWANCE
132 |  |  | Allowance For All Plumbing Hangers, Supports, Coupling, For All Relevant Accessories | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | SUBTOTAL | 0
HVAC
| SHEET#M-100,M-200 | From HVAC Plans | FLEXIBLE DUCT
Note: The Flexible Duct shall be THERMAFLEX M-KE Or an Approved Equal
133 |  |  | 10" Dia Supply Air Flexible Duct | LF | 30 | 10% | 33 | 0 | 0 | 0 | 0 | 0 | 0
REFRIGERANT PIPE
Type "L" Copper With ASTM Standards Joints And Fittings
134 |  |  | 3/8" Refrigerant Liquid Pipe | LF | 420 | 10% | 462 | 0 | 0 | 0 | 0 | 0 | 0
135 |  |  | 5/8" Refrigerant Suction Pipe | LF | 420 | 10% | 462 | 0 | 0 | 0 | 0 | 0 | 0
1/2" Thick Fiberglass Insulation With UV Protection
136 |  |  | 3/8" Refrigerant Liquid Pipe | LF | 420 | 10% | 462 | 0 | 0 | 0 | 0 | 0 | 0
137 |  |  | 5/8" Refrigerant Suction Pipe | LF | 420 | 10% | 462 | 0 | 0 | 0 | 0 | 0 | 0
REFRIGERANT PIPE FITTINGS
ELBOW
138 |  |  | 3/8" Dia Refrigerant Liquid Pipe 90 Deg Elbow | EA | 50 | 0% | 50 | 0 | 0 | 0 | 0 | 0 | 0
139 |  |  | 5/8" Dia Refrigerant Suction Pipe 90 Deg Elbow | EA | 50 | 0% | 50 | 0 | 0 | 0 | 0 | 0 | 0
AIR DEVICES
140 |  |  | SD-1, Supply Air Diffuser, 300 Cfm, Face Size: 24" x 24", Neck Size: 10" Dia, Manufacturer: TITUS, Model: TMS-AA | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
141 |  |  | SD-1, Supply Air Diffuser, 400 Cfm, Face Size: 24" x 24", Neck Size: 10" Dia, Manufacturer: TITUS, Model: TMS-AA | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
142 |  |  | SD-2, Supply Air Diffuser, 225 Cfm, Face Size: 11" Dia, Neck Size: 8" Dia, Manufacturer: TITUS, Model: R-301F | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
143 |  |  | SD-2, Supply Air Diffuser, 160 Cfm, Face Size: 11" Dia, Neck Size: 8" Dia, Manufacturer: TITUS, Model: R-301F | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
144 |  |  | SD-3, Supply Air Diffuser, 75 Cfm, Face Size: 9" Dia, Neck Size: 6" Dia, Manufacturer: TITUS, Model: R-301F | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
145 |  |  | RD-1, Return Air Diffuser, 875 Cfm, Face Size: 24" x 24", Neck Size: 22"x 222", Manufacturer: TITUS, Model: 50F | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
ROOF TOP UNIT
146 |  |  | RTU-1, Roof Top Unit, Manufacturer: TRANE, Model: YHK060 | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
147 |  |  | RTU-2, Roof Top Unit, Manufacturer: TRANE, Model: YHK060 | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
ROOF TOP UNIT DETAIL
148 |  |  | 14" High Metal Insulated Roof Curb (Factory Provided, Installed by Contractor) | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
149 |  |  | 2" MERV8 Filters (Factory Provided, Installed by Contractor) | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
150 |  |  | Hinged Panel For Filter Access Fan Motor Access Compressor Access And Control Compartment Access (All these are provided by Factory, Installed By Contractor) | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
151 |  |  | Drain Pan | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
152 |  |  | Water Level Monitoring Device | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
153 |  |  | Dehumidification And Gas Reheat | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
154 |  |  | Concrete Pad (For RTU) | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
155 |  |  | Micro-Pan Sensor (Overflow Switch), Manufacturer: AQUAGUARD, Model: AG-3180E (Factory Provided, Installed by Contractor) | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
156 |  |  | Smoke Detectors (Provided by Unit Manufacturer, Mechanical Contractor have to install only) | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
157 |  |  | 7-Day Digital Programmable Thermostat, HONEYWELL HOME, Model: VSISIONPRO 8000 With REDLINKB | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
FANS
158 |  |  | EF-1, Exhaust Fan, Cabinet Style, 100 Cfm, Manufacturer: COOK, Model: GC-148 | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
159 |  |  | EF-2, Exhaust Fan, Cabinet Style, 100 Cfm, Manufacturer: COOK, Model: GC-148 | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
FAN DETAILS
160 |  |  | Ceiling Grille | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
161 |  |  | Integral Backdraft Damper | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
162 |  |  | Wired Speed Controller | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
163 |  |  | Vibration Isolators | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
164 |  |  | 3/8" Steel Rod | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
CONDENSING UNIT
Note: The Condensers are provided by owner, Installed by Contractor
165 |  |  | CU-1 ( For Ice Nugget Maker) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
166 |  |  | CU-2 ( For Ice Cube Maker) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
167 |  |  | CU-3 ( For Ice Nugget Maker) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
168 |  |  | CU-4 ( For Ice Nugget Maker) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
169 |  |  | CU-5 ( For Walk-In Cooler) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
CONDENSING UNIT DETAILS
170 |  |  | Rails For Condensing Unit | EA | 10 | 0% | 10 | 0 | 0 | 0 | 0 | 0 | 0
171 |  |  | Condenser Stand | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
WALK-IN COOLER
172 |  |  | Walk-In Cooler (Provided by Owner, Installed by GC) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
EVAPORATOR
173 |  |  | Walk In Cooler Evaporator (By Others, Install By Contractor) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
AIR CURTAINS
174 |  |  | AD-1, Air Door Curtain, Manufacturer: BERNER, Model: SLC07-1036A | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
175 |  |  | AD-2, Air Door Curtain, Manufacturer: BERNER, Model: CHD10-1042E | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
176 |  |  | AD-3, Air Door Curtain, Manufacturer: BERNER, Model: SLC07-1036A | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
AIR CURTAIN DETAILS
177 |  |  | Door Switch (Factory Provided, Installed by Contractor) | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
DAMPERS
Note: The Manual Volume Dampers shall be as Manufactured by LOUVERS & DAMPERS
178 |  |  | 8" Dia Manual Volume Damper, (Single-Blade Type) | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
179 |  |  | 10" Dia Manual Volume Damper, (Single Blade Type) | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
180 |  |  | 6" Dia Manual Volume Damper, (Single Blade Type) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
181 |  |  | 14" Dia Manual Volume Damper (Double Blade Type) | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
DUCT WEIGHT
182 |  |  | Galvanized Sheet Metal Duct | LB | 1409 | 10% | 1549.9 | 0 | 0 | 0 | 0 | 0 | 0
183 |  |  | DUCTSOX Weight | LB | 345 | 10% | 379.5 | 0 | 0 | 0 | 0 | 0 | 0
DUCT INSULATION
184 |  |  | Galvanized Sheet Metal Duct | SF | 899 | 10% | 988.9 | 0 | 0 | 0 | 0 | 0 | 0
MISCELLANEOUS
185 |  |  | Remote Temperature Sensor | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
186 |  |  | Remote Test Station (Provided By Electrical Contractor, Mechanical Contractor have to only install) | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
187 |  |  | Light / Horn For Smoke Detector | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
188 |  |  | 1/2" x 1/2" Metal Mesh Over Opening | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
189 |  |  | 3/4" EMT Conduit | LF | 103 | 0% | 103 | 0 | 0 | 0 | 0 | 0 | 0
190 |  |  | #18 CU THHN/THWN | LF | 490 | 0% | 490 | 0 | 0 | 0 | 0 | 0 | 0
191 |  |  | 8" x 4" Weatherproof Roof Penetration | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
192 |  |  | 20" x 4" Weatherproof Roof Penetration | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
193 |  |  | 5" Thick Weatherproof Exterior Penetration | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
194 |  |  | 12" x 16" End Cap | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
195 |  |  | 14" x 12" End Cap | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
PIPE SUPPORTS
196 |  |  | 1/2" Dia Adjustable Clevis Hanger | EA | 85 | 0% | 85 | 0 | 0 | 0 | 0 | 0 | 0
197 |  |  | 3/8" Dia Threaded Rod | EA | 85 | 0% | 85 | 0 | 0 | 0 | 0 | 0 | 0
DUCT SUPPORTS
198 |  |  | Size Bolts For Load | EA | 30 | 0% | 30 | 0 | 0 | 0 | 0 | 0 | 0
199 |  |  | 1" x 22 Ga. Strap | EA | 30 | 0% | 30 | 0 | 0 | 0 | 0 | 0 | 0
200 |  |  | 1-1/2" x 1/2" x 1/8" Galvanized Steel Angle | EA | 15 | 0% | 15 | 0 | 0 | 0 | 0 | 0 | 0
201 |  |  | 1" x 16 Ga. Metal Strap | EA | 20 | 0% | 20 | 0 | 0 | 0 | 0 | 0 | 0
202 |  |  | Hanger Support For Round Duct | EA | 20 | 0% | 20 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | SUBTOTAL | 0
ELECTRICAL
DISTRIBUTION
| E100 to E600 | As Per Electrical Plan | CONDUIT
203 |  |  | 2" EMT Conduit | LF | 24 | 10% | 26.4 | 0 | 0 | 0 | 0 | 0 | 0
204 |  |  | 2" PVC Conduit | LF | 38 | 10% | 41.8 | 0 | 0 | 0 | 0 | 0 | 0
205 |  |  | 2" RGS Conduit | LF | 10 | 10% | 11 | 0 | 0 | 0 | 0 | 0 | 0
206 |  |  | 3" RGS Conduit | LF | 15 | 10% | 16.5 | 0 | 0 | 0 | 0 | 0 | 0
CONDUCTOR
207 |  |  | #3 CU THHN/THWN-2 | LF | 34 | 10% | 37.4 | 0 | 0 | 0 | 0 | 0 | 0
208 |  |  | #3 CU XHHW | LF | 38 | 10% | 41.8 | 0 | 0 | 0 | 0 | 0 | 0
209 |  |  | #3/0 CU THHN/THWN-2 | LF | 135 | 10% | 148.5 | 0 | 0 | 0 | 0 | 0 | 0
210 |  |  | #3/0 CU XHHW | LF | 153 | 10% | 168.3 | 0 | 0 | 0 | 0 | 0 | 0
211 |  |  | #4/0 CU THHN/THWN-2 | LF | 58 | 10% | 63.8 | 0 | 0 | 0 | 0 | 0 | 0
LUGS
212 |  |  | Compression Lug CU With 1-Hole , #6 CU Wire | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
213 |  |  | Heat Shrink Tubing for #6 CU Wire | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
214 |  |  | Compression Lug CU With 1-Hole , #3 CU Wire | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
215 |  |  | Heat Shrink Tubing for #3 CU Wire | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
216 |  |  | Compression Lug CU With 1-Hole , #3/0 CU Wire | EA | 16 | 0% | 16 | 0 | 0 | 0 | 0 | 0 | 0
217 |  |  | Heat Shrink Tubing for #3/0 CU Wire | EA | 16 | 0% | 16 | 0 | 0 | 0 | 0 | 0 | 0
218 |  |  | Compression Lug CU With 1-Hole , #4/0 CU Wire | EA | 16 | 0% | 16 | 0 | 0 | 0 | 0 | 0 | 0
219 |  |  | Heat Shrink Tubing for #4/0 CU Wire | EA | 16 | 0% | 16 | 0 | 0 | 0 | 0 | 0 | 0
CIRCUIT BREAKER
220 |  |  | 1P/15A Circuit Breaker | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
221 |  |  | 1P/15A Circuit Breaker, GFCI Rated | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
222 |  |  | 1P/20A Circuit Breaker | EA | 52 | 0% | 52 | 0 | 0 | 0 | 0 | 0 | 0
223 |  |  | 1P/20A Circuit Breaker with Red Marking & Lockable Device | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
224 |  |  | 1P/20A Circuit Breaker, GFCI Rated | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
225 |  |  | 1P/20A Circuit Breaker, GFI, HARC Rated | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
226 |  |  | 1P/20A GFPE Rated Circuit Breaker, | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
227 |  |  | 2P/20A Circuit Breaker, GFCI Rated | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
228 |  |  | 2P/20A GFI, HARC Rated, Lockable Circuit Breaker | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
229 |  |  | 2P/20A Lockable Circuit Breaker | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
230 |  |  | 1P/20A Lockable Circuit Breaker | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
231 |  |  | 2P/25A Circuit Breaker, GFCI Rated | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
232 |  |  | 2P/30A Circuit Breaker, GFCI Rated | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
233 |  |  | 2P/30A Circuit Breaker, HACR Rated | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
234 |  |  | 3P/30A Circuit Breaker | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
235 |  |  | 3P/45A Circuit Breaker, HACR Rated | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
236 |  |  | 2P/60A Circuit Breaker | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
PANEL
237 |  |  | Panel A1, 400A, 120/208V, 3 PH, 4W, Mains: MLO, KAIC: 22, Poles: 54, Flush Mounted W/ Ground Bus | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
238 |  |  | Panel A2, 400A, 120/208V, 3 PH, 4W, Mains: MLO, KAIC: 22, Poles: 54, Flush Mounted W/ Ground Bus | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
DEVICES
239 |  |  | 400A Self Contained Utility Meter | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
DISCONNECT SWITCH
Approved Manufacturer For Disconnect Switches Shall Be Square D. Fuses Shall Be RK-1, Bussman, Low Peak.
240 |  |  | 2P/30A Non Fused Disconnect Switch NEMA 3R | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
241 |  |  | 2P/30AT/30AF Fused Disconnect Switch NEMA 3R | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
242 |  |  | 3P/30A Non Fused Disconnect Switch NEMA 1, 240V | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
243 |  |  | 2P/60A Non Fused Disconnect Switch NEMA 1, 240V | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
244 |  |  | 3P/60AT/45AF Fused Disconnect Switch NEMA 3R | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
245 |  |  | 3P/60A Non Fused Disconnect Switch NEMA 3R | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
246 |  |  | 3P/400A, 240 SE Rated, 400A Fused Disconnect Switch W/ 400AF, NEMA 3R | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
GROUNDING
247 |  |  | #6 CU Ground Wire | LF | 47 | 0% | 47 | 0 | 0 | 0 | 0 | 0 | 0
248 |  |  | 3/4" EMT Conduit for Ground Wire | LF | 17 | 0% | 17 | 0 | 0 | 0 | 0 | 0 | 0
249 |  |  | #4 Bare Copper | LF | 10 | 0% | 10 | 0 | 0 | 0 | 0 | 0 | 0
250 |  |  | #1/0 CU Ground Wire | LF | 10 | 0% | 10 | 0 | 0 | 0 | 0 | 0 | 0
251 |  |  | #1/0 Main Bonding Jumper | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
252 |  |  | 1/2" Dia x 20' Concrete Encased Grounding Electrode | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
253 |  |  | 10' X 3/4" Copper Clad Ground Rod | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
254 |  |  | Ground Bus Bar | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
255 |  |  | Telecom Ground Bus | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
POWER
CONDUIT
256 |  |  | 1/2" EMT Conduit W/ Pull string | LF | 70 | 10% | 77 | 0 | 0 | 0 | 0 | 0 | 0
257 |  |  | 3/4" EMT Conduit W/ Pull string | LF | 96 | 10% | 105.6 | 0 | 0 | 0 | 0 | 0 | 0
258 |  |  | 3/4" EMT Conduit | LF | 3210 | 10% | 3531 | 0 | 0 | 0 | 0 | 0 | 0
259 |  |  | 3/4" FLEX S Conduit | LF | 10 | 10% | 11 | 0 | 0 | 0 | 0 | 0 | 0
260 |  |  | 3/4" LFMC Conduit | LF | 55 | 10% | 60.5 | 0 | 0 | 0 | 0 | 0 | 0
261 |  |  | 3/4" RGS Conduit | LF | 60 | 10% | 66 | 0 | 0 | 0 | 0 | 0 | 0
CONDUCTOR
262 |  |  | 2#18 MC Cable | LF | 40 | 10% | 44 | 0 | 0 | 0 | 0 | 0 | 0
263 |  |  | #18 CU THHN/THWN-2 | LF | 602 | 10% | 662.2 | 0 | 0 | 0 | 0 | 0 | 0
264 |  |  | #12 CU THHN/THWN-2 | LF | 6243 | 10% | 6867.3 | 0 | 0 | 0 | 0 | 0 | 0
265 |  |  | #10 CU THHN/THWN-2 | LF | 2731 | 10% | 3004.1 | 0 | 0 | 0 | 0 | 0 | 0
266 |  |  | #8 CU THHN/THWN-2 | LF | 423 | 10% | 465.3 | 0 | 0 | 0 | 0 | 0 | 0
267 |  |  | #6 CU THHN/THWN-2 | LF | 34 | 10% | 37.4 | 0 | 0 | 0 | 0 | 0 | 0
DEVICE
Approved Manufacturer For Power Devices Shall Be Harvey Hubbell. Receptacles Shall Be Heavy Duty.
Wall Plates Shall Be Finish Stainless Steel Leviton Type 430 Series. Cover Plates For Damp Locations Thermoplastic Or Cast Aluminum W/ Spring Loaded Lift Cover
268 |  |  | 1P/15A Motor Rated Switch | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
269 |  |  | 1P/15A Motor Rated Switch WP | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
270 |  |  | 1P/20A Motor Rated Switch | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
271 |  |  | 1P/20A Motor Rated Switch WP | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
272 |  |  | 2P/20A Special Purpose Receptacle | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
273 |  |  | Duplex Receptacle GFCI | EA | 8 | 0% | 8 | 0 | 0 | 0 | 0 | 0 | 0
274 |  |  | Duplex Receptacle GFCI WP | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
275 |  |  | Duplex Receptacle USB/ GFCI | EA | 6 | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0
276 |  |  | Duplex Receptacle, HUBBELL #5362 | EA | 9 | 0% | 9 | 0 | 0 | 0 | 0 | 0 | 0
277 |  |  | Equipment Connection | EA | 16 | 0% | 16 | 0 | 0 | 0 | 0 | 0 | 0
278 |  |  | Factory Installed Duplex Receptacle GFCI WP | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
279 |  |  | Low Voltage Buzzer | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
280 |  |  | Low Voltage Transformer | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
281 |  |  | Manufacture Supplied Junction Box WP | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
282 |  |  | NEMA 5-15P Duplex Receptacle GFCI W/ Cord & Plug | EA | 18 | 0% | 18 | 0 | 0 | 0 | 0 | 0 | 0
283 |  |  | NEMA 5-15P Duplex Receptacle W/ Cord & Plug | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
284 |  |  | NEMA 6-20R Special Purpose Receptacle | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
285 |  |  | NEMA 6-20P Special Purpose Receptacle W/ Cord & Plug | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
286 |  |  | NEMA 6-30P Special Purpose Receptacle W/ Cord & Plug | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
287 |  |  | NEMA L6-30P Special Purpose Receptacle W/ Cord & Plug | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
288 |  |  | Quad Receptacle GFCI | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
289 |  |  | Show Window Duplex Receptacle | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
290 |  |  | Single Pole Switch WP | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
291 |  |  | WP Pushbutton | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
LIGHTING
CONDUIT
292 |  |  | 3/4" EMT Conduit | LF | 1169 | 10% | 1285.9 | 0 | 0 | 0 | 0 | 0 | 0
293 |  |  | 3/4" Flex S Conduit | LF | 13 | 10% | 14.3 | 0 | 0 | 0 | 0 | 0 | 0
294 |  |  | 3/4" RGS Conduit | LF | 6 | 10% | 6.6 | 0 | 0 | 0 | 0 | 0 | 0
CONDUCTOR
295 |  |  | #12 GA Hanging Wire | LF | 354 | 10% | 389.4 | 0 | 0 | 0 | 0 | 0 | 0
296 |  |  | #12 CU THHN/THWN-2 | LF | 946 | 10% | 1040.6 | 0 | 0 | 0 | 0 | 0 | 0
297 |  |  | #8 MC Cable | LF | 66 | 10% | 72.6 | 0 | 0 | 0 | 0 | 0 | 0
298 |  |  | #8 CU THHN/THWN-2 | LF | 2935 | 10% | 3228.5 | 0 | 0 | 0 | 0 | 0 | 0
LIGHTING FIXTURES
299 |  |  | C – 2x2 LED backlit flat panel, 4600 lm. SATCO, #NUVO 65-5711R, UNV, 40W, Integral LED, 0-10V dimming, recessed. | EA | 8 | 0% | 8 | 0 | 0 | 0 | 0 | 0 | 0
300 |  |  | CE – 2x2 LED backlit flat panel with emergency backup, 4600 lm. SATCO, #NUVO 65-575R1, 120V, 40W, Integral LED, non-dimming, recessed. | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
301 |  |  | D – 6" cylinder with black pendant extension and LED Satco bulb. GREEN CREATIVE, #PXYCL6 SM LEL9040 KIM010UNV/NR/BL/CC, UNV, 18W, Integral LED, 0-10V dimming, pendant. | EA | 10 | 0% | 10 | 0 | 0 | 0 | 0 | 0 | 0
302 |  |  | DE – 6" cylinder with black pendant extension and LED Satco bulb and emergency LED driver. GREEN CREATIVE, #PXYCL6 SM LEL9040 KIM010UNV/NR/BL/CC/EM-INT, UNV, 18W, Integral LED, non-dimming, pendant. | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
303 |  |  | EW– 4" LED flat downlight and emergency LED driver. GREEN CREATIVE, #NYXNC4RD/S9CCT5S/DUALDIM/WD/BB/EM6, UNV, 22W, Integral LED, non-dimming, recessed. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
304 |  |  | E1 – 4" LED flat downlight. GREEN CREATIVE, #NYXNC4RD/S9CCT5S/DUALDIM/WD/BBW, UNV, 23W, Integral LED, 0-10V dimming, recessed. | EA | 22 | 0% | 22 | 0 | 0 | 0 | 0 | 0 | 0
305 |  |  | F – 14" mint green outer shade/white interior shade pendant with ½" stem mount canopy and LED Satco bulb. BASELITE, #W514-18-STG-3/4"-CTC-150WINC, SATCO BULB #S29456, UNV, 18W, E26 LED, 0-10V dimming, surface. | EA | 7 | 0% | 7 | 0 | 0 | 0 | 0 | 0 | 0
306 |  |  | G2 – 6" exterior LED cylinder up & down, 2150 lm per side, 3000K. RP LIGHTING, #P5642-31-30K, UNV, 29W, Integral LED, non-dimming, surface. | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
307 |  |  | GN – 10" exterior cylinder gooseneck wall sconce. BASELITE, #A810-41-E2411W, UNV, 11W, E26 LED, non-dimming, surface. | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
308 |  |  | H – LED canopy light, fully shielded. RAB, #VAN17-5000K, UNV, 23W, Integral LED, 0-10V dimming, surface. | EA | 7 | 0% | 7 | 0 | 0 | 0 | 0 | 0 | 0
309 |  |  | L – 4' LED strip diffused lens, 3041 lm, 3500K, with (2) chain hanger sets, 36". LSI LIGHTING, #SDL4-LED-30L-FL-UNV-DIM1-35-80CRI HANGER SET #M38258, UNV, 23W, Integral LED, 0-10V dimming, surface. | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
310 |  |  | TH3 – LED track head, straight cylinder with Satco bulb. SATCO, #NUVO TH203, SATCO BULB #S29428, UNV, 12.5W, E26 LED, 0-10V dimming, ceiling. | EA | 30 | 0% | 30 | 0 | 0 | 0 | 0 | 0 | 0
311 |  |  | T4/TLC/TLCV – LED track lighting, track live end & canopy inline feed connector L connector. SATCO, #NUVO TR121; NUVO TP153; NUVO TP172; NUVO TP147; TP179 TRACK PENDANT KIT (AS REQUIRED), UNV, LED, surface/ceiling. | EA | 10 | 0% | 10 | 0 | 0 | 0 | 0 | 0 | 0
312 |  |  | V – 2' LED linear vanity light. RP LIGHTING, #4907BN-24, UNV, 15W, Integral LED, 0-10V dimming, surface. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
313 |  |  | V1 – Cooler vapor-tight 4' LED linear enclosed & gasketed. LSI LIGHTING, #EGA-5L-SA-UNV-840, UNV, 36W, Integral LED, 0-10V dimming, surface. | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
314 |  |  | WP – Forward-throw LED wall pack, bronze, with 90-min battery backup. LSI LIGHTING, #GST-4L-FT-UNV-30K7-BRZ, UNV, 33W, Integral LED, surface. | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
315 |  |  | WPE – Forward-throw LED wall pack, bronze, no battery backup. LSI LIGHTING, #GST-4L-FT-UNV-30K7-BRZ-BB, UNV, 33W, Integral LED, surface. | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
316 |  |  | W – Emergency light with twin adjustable LED heads and battery, mount @ 7'-6" to clear obstacles, 1 FC avg., 0.3 FC min., 39" spacing. LSI LIGHTING, #EAR-WH-SD2-RC, UNV, 3W, Integral LED, surface. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
317 |  |  | X1 – Combination emergency/exit light with LED lamps, red letters on white background, dual emergency heads, universal mount, battery backup. LSI LIGHTING, #LPRX-R-U-BK-LD11-RL, UNV, 2.2W, Integral LED, surface. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
LIGHTING CONTROL
318 |  |  | 24 Hr Time Clock, #TORK 1101 | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
319 |  |  | 4-Pole Lighting Relay Panel with Astronomical Timeclock & Holiday Scheduling, NEMA 1 | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
320 |  |  | Intermatic Photocell, #EK4236S | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
321 |  |  | Multi Pole Electrical Held Lighting Control Relay in NEMA 1 Enclosure with Line Voltage Coil, SQ.D 8903 Type LG11 120V COIL (V02) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
322 |  |  | Single Pole Switch with Pilot Light | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
323 |  |  | Switch Bank with (2) 3-Way Switch, (1) 2 Hr Rotatory Override Switch | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
324 |  |  | Switch Bank with (2) 3-Way Switch, (1) Dimmer Switch | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
325 |  |  | Wall Mounted Occupancy Sensor Switch | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
MISCELLANEOUS
326 |  |  | Wall Mounted Junction Box WP | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
TRENCHING & BACKFILLING
327 |  |  | Excavation & Backfilling (2' Deep x 1' Wide Trench) Including All Labor and Material/Equipment | CFT | 34 | 0% | 34 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | SUBTOTAL | 0
COMMUNICATION
TELECOMMUNICATION
| E200 | As Per Electrical Plan | Low Voltage Is Provided By IT Vendor.
CONDUIT
328 |  |  | 3/4" EMT Conduit W/ Pullstring (By EC) | LF | 120 | 10% | 132 | 0 | 0 | 0 | 0 | 0 | 0
DEVICES
Wall Plates Shall Be Finish Stainless Steel Leviton Type 430 Series. Cover Plates For Damp Locations Thermoplastic Or Cast Aluminum W/ Spring Loaded Lift Cover
329 |  |  | 5' X 5' X3/4" Fire Retardant Plywood Backboard | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
330 |  |  | Voice/Data Combination Outlet | EA | 12 | 0% | 12 | 0 | 0 | 0 | 0 | 0 | 0
331 |  |  | 4" Square Box (By EC) | EA | 12 | 0% | 12 | 0 | 0 | 0 | 0 | 0 | 0
332 |  |  | Faceplate(By EC) | EA | 12 | 0% | 12 | 0 | 0 | 0 | 0 | 0 | 0
SECURITY
Security By Security System Vendor/Installer.
CONDUIT
333 |  |  | 3/4" EMT Conduit W/ Pull string (By EC) | LF | 80 | 10% | 88 | 0 | 0 | 0 | 0 | 0 | 0
334 |  |  | 3/4" RGS Conduit W/ Pull string (By EC) | LF | 15 | 10% | 16.5 | 0 | 0 | 0 | 0 | 0 | 0
DEVICES
Wall Plates Shall Be Finish Stainless Steel Leviton Type 430 Series. Cover Plates For Damp Locations Thermoplastic Or Cast Aluminum W/ Spring Loaded Lift Cover
335 |  |  | Security Camera WP | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
336 |  |  | Security Camera | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
337 |  |  | 360 Degree Security Camera | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
338 |  |  | 4" Square Box (By EC) | EA | 8 | 0% | 8 | 0 | 0 | 0 | 0 | 0 | 0
339 |  |  | Faceplate(By EC) | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
340 |  |  | Faceplate WP (By EC) | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
AUDIO/VISUAL SYSTEM
Audio Visual Is Provided By Tenant's Music Provider.
CONDUIT
341 |  |  | 3/4" EMT Conduit W/ Pull string (By EC) | LF | 230 | 10% | 253 | 0 | 0 | 0 | 0 | 0 | 0
342 |  |  | 3/4" RGS Conduit W/ Pull string (By EC) | LF | 10 | 10% | 11 | 0 | 0 | 0 | 0 | 0 | 0
DEVICES
Wall Plates Shall Be Finish Stainless Steel Leviton Type 430 Series. Cover Plates For Damp Locations Thermoplastic Or Cast Aluminum W/ Spring Loaded Lift Cover
343 |  |  | Speaker WP | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
344 |  |  | Speaker | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
345 |  |  | 4" Square Box (By EC) | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
346 |  |  | Faceplate(By EC) | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
347 |  |  | Faceplate WP(By EC) | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | SUBTOTAL | 0
ELECTRONIC SAFETY AND SECURITY
FIRE ALARM
CONDUIT
348 |  |  | 3/4" EMT Conduit | LF | 111 | 10% | 122.1 | 0 | 0 | 0 | 0 | 0 | 0
CONDUCTOR
349 |  |  | #16 CU THHN/THWN-2 | LF | 128 | 10% | 140.8 | 0 | 0 | 0 | 0 | 0 | 0
350 |  |  | #14 CU THHN/THWN-2 | LF | 94 | 10% | 103.4 | 0 | 0 | 0 | 0 | 0 | 0
DEVICES
Wall Plates Shall Be Finish Stainless Steel Leviton Type 430 Series. Cover Plates For Damp Locations Thermoplastic Or Cast Aluminum W/ Spring Loaded Lift Cover
351 |  |  | Remote Test/Reset Annunciator (Provide By EC, Installed By Mechanical Contractor) | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
352 |  |  | 4" Square Box For Remote Test/Reset Annunciator | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
353 |  |  | 4" Square Box For Duct Smoke Detector | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
354 |  |  | 4" Square Box For Light Horn | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
355 |  |  | Faceplate | EA | 6 | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | SUBTOTAL | 0
UTILITIES
DISTRIBUTION
| E001 | As Per Site Plan | CONDUIT
356 |  |  | 3" LFMC Conduit | LF | 10 | 10% | 11 | 0 | 0 | 0 | 0 | 0 | 0
357 |  |  | 1" SCH 80 PVC Conduit with Pull String | LF | 151 | 10% | 166.1 | 0 | 0 | 0 | 0 | 0 | 0
358 |  |  | 3" SCH 80 PVC Conduit | LF | 349 | 10% | 383.9 | 0 | 0 | 0 | 0 | 0 | 0
359 |  |  | 3" RGS Conduit | LF | 50 | 10% | 55 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | CONDUCTOR | [6 empty] | 0
360 |  |  | #4/0 CU XHHW | LF | 1636 | 10% | 1799.6 | 0 | 0 | 0 | 0 | 0 | 0
LUGS
361 |  |  | Compression Lug CU With 1-Hole , #4/0 CU Wire | EA | 16 | 0% | 16 | 0 | 0 | 0 | 0 | 0 | 0
362 |  |  | Heat Shrink Tubing for #4/0 CU Wire | EA | 16 | 0% | 16 | 0 | 0 | 0 | 0 | 0 | 0
DISCONNECT SWITCH
363 |  |  | 1P/20A Disconnect Switch WP | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
POWER
CONDUIT
364 |  |  | 3/4" EMT Conduit | LF | 45 | 10% | 49.5 | 0 | 0 | 0 | 0 | 0 | 0
365 |  |  | 1" EMT Conduit | LF | 10 | 10% | 11 | 0 | 0 | 0 | 0 | 0 | 0
366 |  |  | 1" PVC Conduit | LF | 346 | 10% | 380.6 | 0 | 0 | 0 | 0 | 0 | 0
367 |  |  | 1" PVC Conduit with Pull String | LF | 211 | 10% | 232.1 | 0 | 0 | 0 | 0 | 0 | 0
368 |  |  | 1" RGS Conduit | LF | 15 | 10% | 16.5 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | CONDUCTOR | [6 empty] | 0
369 |  |  | #12 CU THHN/THWN-2 | LF | 135 | 10% | 148.5 | 0 | 0 | 0 | 0 | 0 | 0
370 |  |  | #10 CU THHN/THWN-2 | LF | 15 | 10% | 16.5 | 0 | 0 | 0 | 0 | 0 | 0
371 |  |  | #10 CU XHHW | LF | 454 | 10% | 499.4 | 0 | 0 | 0 | 0 | 0 | 0
372 |  |  | #8 CU THHN/THWN-2 | LF | 15 | 10% | 16.5 | 0 | 0 | 0 | 0 | 0 | 0
373 |  |  | #8 CU XHHW | LF | 629 | 10% | 691.9 | 0 | 0 | 0 | 0 | 0 | 0
LIGHTING FIXTURES
374 |  |  | Duplex Receptacle, GFCI/WP | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
375 |  |  | 1P/20A Toggle Switch WP | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
SITE LIGHTING
CONDUIT
376 |  |  | 1" EMT Conduit | LF | 10 | 10% | 11 | 0 | 0 | 0 | 0 | 0 | 0
377 |  |  | 1" PVC Conduit | LF | 386 | 10% | 424.6 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | CONDUCTOR | [6 empty] | 0
378 |  |  | #12 CU XHHW | LF | 265 | 10% | 291.5 | 0 | 0 | 0 | 0 | 0 | 0
379 |  |  | #12 CU THHN/THWN-2 | LF | 75 | 10% | 82.5 | 0 | 0 | 0 | 0 | 0 | 0
380 |  |  | #10 CU XHHW | LF | 895 | 10% | 984.5 | 0 | 0 | 0 | 0 | 0 | 0
381 |  |  | #10 CU THHN/THWN-2 | LF | 195 | 10% | 214.5 | 0 | 0 | 0 | 0 | 0 | 0
LIGHTING FIXTURES
382 |  |  | FL – Flood light, 4690 lumens. WLS LIGHTING, #WLS-NV-F1-15-16L-35-40K-SLW, 35W LED, LLF 0.95. | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
383 |  |  | SL1 – Site light, 12,356 lumens. WLS LIGHTING, #WLS-NV-1-T4-48L-1-40K7-HSS-SLW, 156W LED, 22' mounting height, LLF 0.95 With Pole | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
384 |  |  | SL2 – Site light, 12,293 lumens. WLS LIGHTING, #WLS-NV-1-T3-48L-1-40K7-HSS-SLW, 156W LED, 22' mounting height, LLF 0.95 With Pole | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
385 |  |  | SL3 – Site light, 19,838 lumens. WLS LIGHTING, #WLS-NV-1-T5W-48L-1-40K7-SLW, 156W LED, 22' mounting height, LLF 0.95 With Pole | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
COMMUNICATION
386 |  |  | 4" EMT Conduit with Pull String | LF | 34 | 10% | 37.4 | 0 | 0 | 0 | 0 | 0 | 0
387 |  |  | 4" PVC SCH 80 Conduit with Pull String | LF | 109 | 10% | 119.9 | 0 | 0 | 0 | 0 | 0 | 0
MISCELLANEOUS
388 |  |  | Junction Box WP | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
389 |  |  | Wall Mounted Junction Box | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
390 |  |  | 1'x8" Concrete Duct Bank | LF | 175 | 0% | 175 | 0 | 0 | 0 | 0 | 0 | 0
TRENCHING & BACKFILLING
391 |  |  | Excavation & Backfilling (2' Deep x 1' Wide Trench) Including All Labor and Material/Equipment | CFT | 2050 | 0% | 2050 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | SUBTOTAL | 0
PROJECTED COST | [12 empty] | 0
OVERHEAD AND PROFIT | [11 empty] | 15% | 0
INSURANCE | [11 empty] | 0% | 0
CONTINGENCY | [11 empty] | 0% | 0
TAX | [11 empty] | 0% | 0
SUGGESTED BID | [12 empty] | 0
Notes:
1. Online sources are used for pricing.
2. Prices can vary depending upon field conditions.

## Duct Takeoff
BREAKDOWN OF DUCT ITEMS
Prepared for: | 606 North Mechanic Street, El Campo, Texas 77437
Project ID: | 45905
Scope: | MEP
|  |  |  | Date: | 2025-09-08
SR # | DESCRIPTION | UNIT | QUANTITY | WASTAGE | QUANTITY W/ WASTAGE
HVAC
GALVANIZED SHEET METAL DUCT
1 | 8" Dia Supply Air Duct | LF | 42 | 10% | 46.2
2 | 6" Dia Supply Air Duct | LF | 11 | 10% | 12.1
3 | 10" Dia Supply Air Duct | LF | 56 | 10% | 61.6
4 | 14" x 12" Supply Air Duct | LF | 7 | 10% | 7.7
5 | 14" x 28" Supply Air Duct | LF | 12 | 10% | 13.2
6 | 16" x 18" Supply Air Duct | LF | 14 | 10% | 15.4
7 | 14" x 16" Supply Air Duct | LF | 3 | 10% | 3.3
8 | 12" x 16" Supply Air Duct | LF | 7 | 10% | 7.7
9 | 14" x 24" Return Air Duct | LF | 34 | 10% | 37.4
10 | 20" x 46" Return Air Duct | LF | 5 | 10% | 5.5
11 | 22" x 22" Return Air Duct | LF | 8 | 10% | 8.8
12 | 6" Dia Exhaust Air Duct | LF | 30 | 10% | 33
13 | 30" x 16" Outside Air Duct | LF | 10 | 10% | 11
GALVANIZED SHEET METAL DUCT
14 | 14" Dia Supply Air Duct (DUCTSOX) | LF | 27 | 10% | 29.7
15 | 16" Dia Supply Air Duct (DUCTSOX) | LF | 6 | 10% | 6.6
DUCT FITTINGS:
ELBOW
16 | 10" Dia Supply Air Duct 90 Degree Elbow | EA | 3 | 0% | 3
17 | 6" Dia Exhaust Air 90 Degree Elbow | EA | 2 | 0% | 2
18 | 14" x 24" Return Air Duct 90 Degree Elbow | EA | 2 | 0% | 2
TAKE-OFF
19 | 16" / 14" Supply Air Duct Takeoff | EA | 2 | 0% | 2
20 | 14" x 24" / 22" x 22" Return Air Duct Takeoff | EA | 2 | 0% | 2
21 | 14" x 28" / 14" x 16" Supply Air Duct Takeoff | EA | 1 | 0% | 1
22 | 14" x 28" / 14" x 12" Supply Air Duct Takeoff | EA | 1 | 0% | 1
23 | 14" x 24" / 20" x 46" Return Air Duct Takeoff | EA | 2 | 0% | 2
REDUCER
24 | 14" x 16" / 12" x 16" Reducer | EA | 1 | 0% | 1
TRANSITION
25 | 14" x 12" / 10" Dia Supply Air Duct Transition | EA | 2 | 0% | 2
26 | 12" x 16" / 10" Dia Supply Air Duct Transition | EA | 2 | 0% | 2
27 | 14" x 16" / 10" Dia Supply Air Duct Transition | EA | 1 | 0% | 1
28 | 12" x 16" / 6" Dia Supply Air Duct Transition | EA | 1 | 0% | 1
29 | 12" x 16" / 8" Dia Supply Air Duct Transition | EA | 1 | 0% | 1
30 | 16" x 18" / 16" Dia Supply Air Duct Transition | EA | 1 | 0% | 1
ADAPTERS (FOR DUCTSOX)
31 | 14" / 8" Dia Supply Air Duct Adapter Connection To DUCTSOX | EA | 2 | 0% | 2
DUCT COUPLER
32 | Allowance For Duct Couplers (2155 SF) | LS | 1 | 0% | 1