## General Summary
GENERAL SUMMARY
Prepared for: | A New 70 Room Home 2 Hotel Project At Gh Drive Austinberg, OHIO, 44010
Project ID: | 46002
Scope: | MEP
No. Of Floors: | 3
Date: | 2025-12-11
BUILDING GSF | 126458
Site (SF) | 79364
Building (SF) | 47094
DIVISION NO | DESCRIPTION | TOTAL DIV. COST | TOTAL DIV. COST (PER SF)
1000 | General Requirements | 0 | 0
21000 | Fire Suppression | 0 | 0
22000 | Plumbing | 0 | 0
23000 | HVAC | 0 | 0
26000 | Electrical | 0 | 0
27000 | Communications | 0 | 0
28000 | Electronic Safety and Security | 0 | 0
33000 | Utilities | 0 | 0
TOTAL TRADE COST |  | 0 | 0
OVERHEAD AND PROFIT | 15% | 0 | 0
INSURANCE | 0% | 0 | 0
CONTINGENCY | 0% | 0 | 0
TAX | 0% | 0 | 0
SUGGESTED BID |  | 0 | 0

## Takeoff Breakdown
DETAILED BREAKDOWN OF ITEMS
Prepared for: | A New 70 Room Home 2 Hotel Project At Gh Drive Austinberg, OHIO, 44010
Project ID: | 46002
Scope: | MEP
[12 empty] | Date: | 2025-12-11
SR # | Drawing # | Detail # | DESCRIPTION | UNIT | QUANTITY | WASTAGE | QUANTITY W/ WASTAGE | UNIT MANHOUR | HOURLY WAGE | LABOR COST | MAT. COST | UNIT COST | SUB COST
GENERAL REQUIREMENTS
1 |  |  | Permits | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
2 |  |  | Supervision and Coordination | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
3 |  |  | Submittals and Shop drawings | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
4 |  |  | Final Cleaning | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
5 |  |  | Mobilization Costs | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
6 |  |  | Temporary Control & Facilities | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
7 |  |  | Scaffolding | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | SUBTOTAL | 0
FIRE SUPPRESSION
SPRINKLER HEADS
8 | FP-101, FP-102, FP-103 & FP-200 | Assumed | 3/4" Dia Concealed Sprinkler Head | EA | 63 | 0% | 63 | 0 | 0 | 0 | 0 | 0 | 0
9 |  |  | 3/4" Dia Dry Type Sprinkler Head | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
10 |  |  | 3/4" Dia Sidewall Sprinkler Head | EA | 12 | 0% | 12 | 0 | 0 | 0 | 0 | 0 | 0
MISCELLANEOUS
11 |  | As Per Fire Protection Plans | Water Gong | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
12 |  |  | Sprinkler Head Cabinet | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
VALVES:
13 |  |  | Double Check Detector Valve Assemblies W/ Silicone Rubber Seal Rings Or Disks: A.) Hersey DDC11 (3"-10") B.) Febco 805yd (3"-10") C.) Watts 709 (3"-10") D.) Wilkins 950 Xl (3"-10") | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
14 |  |  | 6" Dia OS&Y Gate Valve with Tamper Switch | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
15 |  |  | 6" Dia Check Valve | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
16 |  |  | Water Flow Switch | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
ALLOWANCE
17 |  |  | Allowance for all Fire Protection Piping, Piping Fittings, Hangers & Supports with all Relevant Accessories. (SF 47094) | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | SUBTOTAL | 0
PLUMBING
| Sheet No # P101-P601 | From Plumbing Plans | COLD WATER PIPE (BELOW GRADE)
Copper Type "K" With ASTM Standards And Fittings (Assumed)
18 |  |  | 3/4" Dia Cold Water Pipe | LF | 15 | 10% | 16.5 | 0 | 0 | 0 | 0 | 0 | 0
1/2" Thick Fiber Mineral Insulation With ASTM Standards
19 |  |  | 3/4" Dia Cold Water Pipe | LF | 15 | 10% | 16.5 | 0 | 0 | 0 | 0 | 0 | 0
COLD WATER PIPE FITTINGS
ALLOWANCE
20 |  |  | Allowance For Cold Water Pipe Fittings With Hangers & Supports ( 47,094 SF) | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
COLD WATER PIPE (ABOVE GRADE)
Pax Pipe-A With ASTM Standards And Fittings (Assumed)
21 |  |  | 3" Dia Cold Water Pipe | LF | 255 | 10% | 280.5 | 0 | 0 | 0 | 0 | 0 | 0
22 |  |  | 2" Dia Cold Water Pipe | LF | 720 | 10% | 792 | 0 | 0 | 0 | 0 | 0 | 0
23 |  |  | 1-1/2" Dia Cold Water Pipe | LF | 225 | 10% | 247.5 | 0 | 0 | 0 | 0 | 0 | 0
24 |  |  | 1" Dia Cold Water Pipe | LF | 1150 | 10% | 1265 | 0 | 0 | 0 | 0 | 0 | 0
25 |  |  | 3/4" Dia Cold Water Pipe | LF | 870 | 10% | 957 | 0 | 0 | 0 | 0 | 0 | 0
26 |  |  | 3/4" Dia Tepid Water | LF | 27 | 10% | 29.7 | 0 | 0 | 0 | 0 | 0 | 0
27 |  |  | 1/2" Dia Cold Water Pipe | LF | 2840 | 10% | 3124 | 0 | 0 | 0 | 0 | 0 | 0
1/2" Thick Fiber Mineral Insulation With ASTM Standards
28 |  |  | 3" Dia Cold Water Pipe | LF | 255 | 10% | 280.5 | 0 | 0 | 0 | 0 | 0 | 0
29 |  |  | 2" Dia Cold Water Pipe | LF | 720 | 10% | 792 | 0 | 0 | 0 | 0 | 0 | 0
30 |  |  | 1-1/2" Dia Cold Water Pipe | LF | 225 | 10% | 247.5 | 0 | 0 | 0 | 0 | 0 | 0
31 |  |  | 1" Dia Cold Water Pipe | LF | 1150 | 10% | 1265 | 0 | 0 | 0 | 0 | 0 | 0
32 |  |  | 3/4" Dia Cold Water Pipe | LF | 870 | 10% | 957 | 0 | 0 | 0 | 0 | 0 | 0
33 |  |  | 3/4" Dia Tepid Water | LF | 27 | 10% | 29.7 | 0 | 0 | 0 | 0 | 0 | 0
34 |  |  | 1/2" Dia Cold Water Pipe | LF | 2840 | 10% | 3124 | 0 | 0 | 0 | 0 | 0 | 0
COLD WATER PIPE FITTINGS
ALLOWANCE
35 |  |  | Allowance For Cold Water Pipe Fittings With Hangers & Supports ( 47,094 SF) | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER PIPE (ABOVE GRADE)
Pax Pipe-A With ASTM Standards And Fittings (Assumed)
36 |  |  | 3" Dia Hot Water Pipe | LF | 235 | 10% | 258.5 | 0 | 0 | 0 | 0 | 0 | 0
37 |  |  | 2" Dia Hot Water Pipe | LF | 995 | 10% | 1094.5 | 0 | 0 | 0 | 0 | 0 | 0
38 |  |  | 1-1/2" Dia Hot Water Pipe | LF | 220 | 10% | 242 | 0 | 0 | 0 | 0 | 0 | 0
39 |  |  | 1" Dia Hot Water Pipe | FT | 47.09 | 10% | 51.799 | 0 | 0 | 0 | 0 | 0 | 0
40 |  |  | 1/2" Dia Hot Water Pipe | LF | 2650 | 10% | 2915 | 0 | 0 | 0 | 0 | 0 | 0
41 |  |  | 3/4" Dia Hot Water Pipe | LF | 615 | 10% | 676.5 | 0 | 0 | 0 | 0 | 0 | 0
1-1/2" Thick Fiber Mineral Insulation With ASTM Standards
42 |  |  | 3" Dia Hot Water Pipe | LF | 235 | 10% | 258.5 | 0 | 0 | 0 | 0 | 0 | 0
43 |  |  | 2" Dia Hot Water Pipe | LF | 995 | 10% | 1094.5 | 0 | 0 | 0 | 0 | 0 | 0
44 |  |  | 1-1/2" Dia Hot Water Pipe | LF | 220 | 10% | 242 | 0 | 0 | 0 | 0 | 0 | 0
45 |  |  | 1" Dia Hot Water Pipe | FT | 47.09 | 10% | 51.799 | 0 | 0 | 0 | 0 | 0 | 0
46 |  |  | 1/2" Dia Hot Water Pipe | LF | 2650 | 10% | 2915 | 0 | 0 | 0 | 0 | 0 | 0
47 |  |  | 3/4" Dia Hot Water Pipe | LF | 615 | 10% | 676.5 | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER PIPE FITTINGS
ALLOWANCE
48 |  |  | Allowance For Hot Water Pipe Fittings With Hangers & Supports ( 47,094 SF) | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER RETURN PIPE (ABOVE GRADE)
Pax Pipe-A With ASTM Standards And Fittings (Assumed)
49 |  |  | 1-1/2" Dia Hot Water Return Pipe | LF | 35 | 10% | 38.5 | 0 | 0 | 0 | 0 | 0 | 0
50 |  |  | 1" Dia Hot Water Return Pipe | LF | 77 | 10% | 84.7 | 0 | 0 | 0 | 0 | 0 | 0
51 |  |  | 3/4" Dia Hot Water Return Pipe | LF | 267 | 10% | 293.7 | 0 | 0 | 0 | 0 | 0 | 0
1-1/2" Thick Fiber Mineral Insulation With ASTM Standards
52 |  |  | 1-1/2" Dia Hot Water Return Pipe | LF | 35 | 10% | 38.5 | 0 | 0 | 0 | 0 | 0 | 0
53 |  |  | 1" Dia Hot Water Return Pipe | LF | 77 | 10% | 84.7 | 0 | 0 | 0 | 0 | 0 | 0
54 |  |  | 3/4" Dia Hot Water Return Pipe | LF | 267 | 10% | 293.7 | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER RETURN PIPE FITTINGS
ALLOWANCE
55 |  |  | Allowance For Hot Water Return Pipe Fittings With Hangers & Supports ( 47,094 SF) | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
WASTE PIPE (BELOW GRADE)
Schedule 40 PVC Pipe With ASTM Standards And Fittings (Assumed)
56 |  |  | 1-1/2" Dia Waste Pipe | LF | 92.39 | 10% | 101.629 | 0 | 0 | 0 | 0 | 0 | 0
57 |  |  | 2" Dia Waste Pipe | LF | 132.51 | 10% | 145.761 | 0 | 0 | 0 | 0 | 0 | 0
58 |  |  | 3" Dia Waste Pipe | LF | 517.35 | 10% | 569.085 | 0 | 0 | 0 | 0 | 0 | 0
59 |  |  | 4" Dia Waste Pipe | LF | 137.1 | 10% | 150.81 | 0 | 0 | 0 | 0 | 0 | 0
60 |  |  | 6" Dia Waste Pipe | LF | 209.08 | 10% | 229.988 | 0 | 0 | 0 | 0 | 0 | 0
61 |  |  | 8" Dia Waste Pipe | LF | 40.4 | 10% | 44.44 | 0 | 0 | 0 | 0 | 0 | 0
WASTE PIPE FITTINGS
ALLOWANCE
62 |  |  | Allowance For Waste Pipe Fittings With Hangers & Supports (47,094 SF) | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
WASTE PIPE (BELOW SLAB)
Schedule 40 PVC Pipe With ASTM Standards And Fittings (Assumed)
63 |  |  | 1-1/2" Dia Waste Pipe | LF | 125.46 | 10% | 138.006 | 0 | 0 | 0 | 0 | 0 | 0
64 |  |  | 2" Dia Waste Pipe | LF | 361.06 | 10% | 397.166 | 0 | 0 | 0 | 0 | 0 | 0
65 |  |  | 3" Dia Waste Pipe | LF | 816.48 | 10% | 898.128 | 0 | 0 | 0 | 0 | 0 | 0
WASTE PIPE FITTINGS
ALLOWANCE
66 |  |  | Allowance For Waste Pipe Fittings With Hangers & Supports (47,094 SF) | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
WASTE PIPE (ABOVE GRADE)
Schedule 40 PVC Pipe With ASTM Standards And Fittings (Assumed)
67 |  |  | 1-1/2" Dia Waste Pipe | LF | 19.41 | 10% | 21.351 | 0 | 0 | 0 | 0 | 0 | 0
68 |  |  | 2" Dia Waste Pipe | LF | 48.34 | 10% | 53.174 | 0 | 0 | 0 | 0 | 0 | 0
69 |  |  | 3" Dia Waste Pipe | LF | 214.13 | 10% | 235.543 | 0 | 0 | 0 | 0 | 0 | 0
70 |  |  | 4" Dia Waste Pipe | LF | 49.48 | 10% | 54.428 | 0 | 0 | 0 | 0 | 0 | 0
WASTE PIPE FITTINGS
ALLOWANCE
71 |  |  | Allowance For Waste Pipe Fittings With Hangers & Supports (47,094 SF) | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
VENT PIPE (BELOW GRADE)
Schedule 40 PVC Pipe With ASTM Standards And Fittings (Assumed)
72 |  |  | 1-1/2" Dia Vent Pipe | LF | 15 | 10% | 16.5 | 0 | 0 | 0 | 0 | 0 | 0
73 |  |  | 1/2" Dia Vent Pipe | LF | 16 | 10% | 17.6 | 0 | 0 | 0 | 0 | 0 | 0
74 |  |  | 2" Dia Vent Pipe | LF | 14 | 10% | 15.4 | 0 | 0 | 0 | 0 | 0 | 0
75 |  |  | 3" Dia Vent Pipe | LF | 18 | 10% | 19.8 | 0 | 0 | 0 | 0 | 0 | 0
VENT PIPE FITTINGS
ALLOWANCE
76 |  |  | Allowance For Waste Pipe Fittings With Hangers & Supports (47,094 SF) | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
VENT PIPE (ABOVE GRADE)
Schedule 40 PVC Pipe With ASTM Standards And Fittings (Assumed)
77 |  |  | 1-1/2" Dia Vent Pipe | LF | 320.75 | 10% | 352.825 | 0 | 0 | 0 | 0 | 0 | 0
78 |  |  | 1/2" Dia Vent Pipe | LF | 23.05 | 10% | 25.355 | 0 | 0 | 0 | 0 | 0 | 0
79 |  |  | 2" Dia Vent Pipe | LF | 280.09 | 10% | 308.099 | 0 | 0 | 0 | 0 | 0 | 0
80 |  |  | 3" Dia Vent Pipe | LF | 1074.21 | 10% | 1181.631 | 0 | 0 | 0 | 0 | 0 | 0
VENT PIPE FITTINGS
ALLOWANCE
81 |  |  | Allowance For Vent Pipe Fittings With Hangers & Supports (47,094 SF) | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
STORM DRAIN PIPE (ABOVE GRADE)
Schedule 40 PVC Pipe With ASTM Standards And Fittings (Assumed)
82 |  |  | 3" Dia Storm Drain Pipe | LF | 322 | 10% | 354.2 | 0 | 0 | 0 | 0 | 0 | 0
83 |  |  | 4" Dia Storm Drain Pipe | LF | 198 | 10% | 217.8 | 0 | 0 | 0 | 0 | 0 | 0
STORM DRAIN PIPE FITTINGS
ALLOWANCE
84 |  |  | Allowance For Vent Pipe Fittings With Hangers & Supports (47,094 SF) | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
FLUE VENT PIPES (ABOVE GROUND)
Schedule 40 PVC Pipe With ASTM Standards And Fittings (Assumed)
85 |  |  | 6" Dia Flue Vent Pipe (For GWH-01) | LF | 120 | 10% | 132 | 0 | 0 | 0 | 0 | 0 | 0
FLUE VENT PIPE FITTINGS
ALLOWANCE
86 |  |  | Allowance For Flue Vent Pipe Fittings With Hangers & Supports ( 47,094 SF) | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
GAS PIPE (ABOVE GRADE)
Schedule 40 Black Steel Pipe With ASTM Standards And Fittings (Assumed)
87 |  |  | 3" Dia Gas Pipe | LF | 18 | 10% | 19.8 | 0 | 0 | 0 | 0 | 0 | 0
88 |  |  | 2" Dia Gas Pipe | LF | 55 | 10% | 60.5 | 0 | 0 | 0 | 0 | 0 | 0
89 |  |  | 1-1/2" Dia Gas Pipe | LF | 152 | 10% | 167.2 | 0 | 0 | 0 | 0 | 0 | 0
90 |  |  | 1" Dia Gas Pipe | LF | 30 | 10% | 33 | 0 | 0 | 0 | 0 | 0 | 0
91 |  |  | 3/4" Dia Gas Pipe | LF | 91 | 10% | 100.1 | 0 | 0 | 0 | 0 | 0 | 0
GAS PIPE FITTINGS
ALLOWANCE
92 |  |  | Allowance For Gas Pipe Fittings With Hangers & Supports ( 47,094 SF) | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
PLUMBING FIXTURES
93 |  |  | P-1, Fixture Name :WATER CLOSET, Type: (ADA) FLOOR MOUNT, Basis of Design (ZURN/KOHLER), Elongated Rim, Vitreous China, Flush Valve, Top Spud, ADA Rim Height, White Open Front Toilet Seat Cover With Self-Sustaining Stainless Steel Check Hinges, ASME A112.19.2 Certified. / 1.28 GPM, Automatic Flush Valve, Hardwired, Integral Infrared Proximity Sensor, Non-Hold Open No Leak Handle, Adjustable Tail Piece, Internal Siphon Guard Protection, Self Cleaning, Chrome Plated. Coordinate Valve Height With Architectural. | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
94 |  |  | P-2, Fixture Name: WATER CLOSET, Type: (FLOOR MOUNT), Basis of Design (KOHLER), Description (Two-Piece Tank Type, Elongated Rim, Vitreous China, Comfort Rim Height (Between 16" & 17"), White Closed Front Toilet Seat Solid Seat With Cover With Self-Sustaining Stainless Steel Check Hinges, Polished Chrome Lever, 1.6 GPF, ASME A112.19.2 Certified. Coordinate Lever Side (Right/Left Hand) With Architectural Plans.) | EA | 66 | 0% | 66 | 0 | 0 | 0 | 0 | 0 | 0
95 |  |  | P-2A, Fixture Name: (WATER CLOSET), Type (ADA) FLOOR MOUNT, Basis of Design (KOHLER), Description (Two-Piece Tank Type, Elongated Rim, Vitreous China, ADA Rim Height, White Open Front Toilet Seat Cover With Stainless Steel Check Hinges, Polished Chrome Lever, 1.6 GPF, ASME A112.19.2 Certified. Coordinate Lever Side (Right/Left Hand) With Architectural Plans.) | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
96 |  |  | P-3, Fixture Name (LAVATORY), Type (ADA) WALL MOUNT, Basis of Design (ZURN), Description 20"X18", Vitreous China, Front Overflow, Rectangular, White, ADA Grid Strainer, ADA Trap, Stop, And Supply Protectors. 4" Center Faucet Holes, Provide With Concealed Arm Carrier. Provide With Point Of Use Mixing Valve. | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
97 |  |  | P-4, Fixture Name: (LAVATORY), Type (UNDERMOUNT), Basis of Design (AMERICAN STANDARD/MOEN), Description (19-3/4"X13-3/4", Rectangular, Vitreous China, Front Overflow, White, Single Faucet Holde. Coordinate Dimensions With Vanity. Provide With Point Of Use Mixing Valve. / 1.2 GPM, Chrome Plated, Lever Style Handle, Water Sense Labeled, Single Holde Mounting, Lift Rod With Pop Up Drain, ASME A112.18.1 Certified.) | EA | 70 | 0% | 70 | 0 | 0 | 0 | 0 | 0 | 0
98 |  |  | P-5, Fixture Name: (SHOWER), Type (-), Basis of Design (MOEN), Description (Refer To Architecture For Shower Walls And Floor Information. / 1.5 GPM, Multi Function Shower Head, Single Metal Lever Handle Pressure Balance Mixing Valve With Cast Brass Body, Chrome Finish, Water Sense Labeled, ASME A112.18.1/Csa B-125-1, ASSE 1016/Same A112.1016 Certified.) | EA | 65 | 0% | 65 | 0 | 0 | 0 | 0 | 0 | 0
99 |  |  | P-8, Fixture Name: (SINK), Type (UNDERMOUNT), Basis of Design (JUST MANUFACTURING & MOEN), Description (19-1/2"X14" Stainless Steel Sink With Lustrous Satin Finish, Single Bowl, 5" Bowl Depth, 18 GA 304 Stainless Steel, Sound Deadening On Bottom. Faucet: 1.5 GPM, High Arch With Pulldown Spray, 15" Height And 7-5/8" Reach, Single Handle, Single Faucet Hole. ASME A112.18.1 Certified. Provide With Point Of Use Mixing Valve.) | EA | 70 | 0% | 70 | 0 | 0 | 0 | 0 | 0 | 0
100 |  |  | SHD, Fixture Name: (SHOWER DRAIN), Type (-), Basis of Design (ZURN), Description (Cast Iron Body, Bottom Outlet, Invertible Membrane Clamp, Adjustable Collar, Nickel Bronze Strainer, Provide With Trap Guard. Coordinate With Architectural Specified Shower And/or Tub.) | EA | 32 | 0% | 32 | 0 | 0 | 0 | 0 | 0 | 0
101 |  |  | P-6:, Fixture Name: (ADA SHOWER), Type (-), Basis of Design (AMERICAN STANDARD), Description (Refer To Architecture For Shower Walls And Floor Information. / 1.5 GPM, Fixed Multi Function Shower Head, Adjustable Hand/Wall Shower, Diverter Trim Kit, Single Metal Lever Handle Pressure Balance Mixing Valve With Cast Brass Body, 59" Flexible Metal Hose, 36" Slide Mounting Bar, Supply Elbow And Flange, Chrome Finish.) | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
102 |  |  | P-9, Fixture Name: (MOP SINK), Type (-), Basis of Design (FIAT & ZURN), Description (36"X36"X12" Precast Terrazzo, Single Piece Made Of Black And White Marble Chips Cast In Grey Portland Cement With A Compressive Strength Of Not Less Than 3000 PSI. S.S. Strainer, S.S. Bumper Guard On All Curbs And Threshold. / Chrome Plated, Adjustable Wall Brace, Pail Hook, Four Arm Handles, Hose Threaded Spout.) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
103 |  |  | P-11, Fixture Name: (DRINKING FOUNTAIN), Type (-), Basis of Design (ELKAY), Description (Double, Wall Hung, Electric Refrigerated Water Cooler With Bottle Filling Station, Chilling Capacity Of 50F Based Upon 80F Inlet Water And 90 F Ambient, 115/1/60, FLA: 4 Amps, Anti-Microbial Bubbler, Push Button Activated, Provide With Manufacturers Wall Mounting Bracket.) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
104 |  |  | P-13, Fixture Name: (ICE MAKER BOX), Type (-), Basis of Design (OATEY), Description (Steel Box And Face Plate, Quarter Turn Ball Valve, Copper Sweat.) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
105 |  |  | P-14, Fixture Name: (WASHER MACHINE BOX), Type (-), Basis of Design (OATEY), Description (Fire Rated Plastic Box And Face Plate, Quarter Turn Ball Valves, Copper Sweat, Allows Supply Lines From Top Or Bottom, With Water Hammer Arresters, Adjustable Metal Support Bracket, With 3" Drain 1/2" Inlet X 3/4" Hose Thread Outlet.) | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
106 |  |  | P-10, Fixture Name: (LAUNDRY SINK), Type (FLOOR MOUNT), Basis of Design (JUST MANUFACTURING), Description (Double Compartment, 33"X27"X14", Floor Mount, Stainless Steel, With Tubular Legs, Center Drain Placement, Provide With Manufacturers Leveling Devices, Deck Back For Faucet Mounting. Faucet: 1.5 GPM, 8" Center set, Chrome Plated, Single Handle Control, Vandal Resistant Aerator.) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
107 |  |  | P-7, Fixture Name: (SINK), Type (UNDERMOUNT), Basis of Design (AMERICAN STANDARD & MOEN), Description (23"X18" Stainless Steel Sink With Lustrous Satin Finish, 10" Bowl Depth, 18 GA 304 Stainless Steel, Sound Deadening On Bottom And Side. Faucet: 1.5 GPM, Brass Construction With Chrome Finish, Gooseneck With 13" Height And 8" Reach, Lever Style Handles, Concealed 3 Hole Ledge mount, 8" Centers. ASME A112.18.1 Certified. Provide With Point Of Use Mixing Valve.) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
108 |  |  | HB, Fixture Name: (HOSE BIBB), Type (-), Basis of Design (NIBCO), Description (Quarter Turn Angle Sillcock, Steel Screw, Hose Thread.) | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
109 |  |  | WH, Fixture Name: (WALL HYDRANT), Type (-), Basis of Design (WOODFORD), Description (Automatic Draining, Freeze less, With Hose Connection, Anti Siphon Vacuum Breaker, Flush Mounted Box And Door, Loose Key Operated, Chrome Finish.) | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
110 |  |  | Hand Wash Sink (Install Only) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
111 |  |  | FS, Fixture Name: (FLOOR SINK), Type (-), Basis of Design (ZURN), Description (12"X12"X6", Cast Iron Body, Square Light Duty Half Grate With Slotted Openings, White Porcelain Enamel Interior And Top, With ABS Anti Splash Bottom Dome Strainer, Provide With Trap Primer Connection.) | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
GAS WATER HEATER
112 |  |  | GWH-1 , Capacity (Gallon) (120), Min. Gas Consumption Input (MBH) (1,000.0) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
113 |  |  | GWH-2 , Capacity (Gallon) (120), Min. Gas Consumption Input (MBH) (1,000.0) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
114 |  |  | GWH-3 , Capacity (Gallon) (120), Min. Gas Consumption Input (MBH) (1,000.0) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
WATER HEATER DETAIL
115 |  |  | 4" High Concrete House Keeping Pad | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
116 |  |  | 6" Drip Leg | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
117 |  |  | Gate Valves | EA | 13 | 0% | 13 | 0 | 0 | 0 | 0 | 0 | 0
118 |  |  | Flue Vent, Construct Of AL29-4C Stainless Steel | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
119 |  |  | Temperature And Pressure Relief Valve | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
120 |  |  | Unions | EA | 12 | 0% | 12 | 0 | 0 | 0 | 0 | 0 | 0
121 |  |  | Austad And Timer | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
122 |  |  | Temperature And Pressure Guage | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
123 |  |  | Check Valves | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
124 |  |  | Ball Valves | EA | 9 | 0% | 9 | 0 | 0 | 0 | 0 | 0 | 0
125 |  |  | Thermal Expansion Tank | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
126 |  |  | Pressure And Temperature Port | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
127 |  |  | Small Thermostatic Mixing Valves | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
PUMP
128 |  |  | CP-1, Service (Hot Water Recirculation.), Type (IL), Performance Data (Capacity (GPM): 7, Pump Head (FT. W.C.) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
129 |  |  | CP-2, Service (140 Deg Hot Water Recirculation), Type (IL), Performance Data (Capacity (GPM): 2, Pump Head (FT. W.C.) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
GREASE INTERCEPTOR
130 |  |  | GI, Fixture Name: (GREASE INTERCEPTOR), Type (-), Basis of Design (SCHIER), Description (Flowrate Must Be 50 GPM, 13 Gal Solids Capacity, Hydromechanical Interceptor, Seamless Molded Polyethylene Designed For Outdoor Below-Grade Installation. Provide With Integral Air Relief, Provide With Adjustable Cover Adapter. Certified To ASME A112.14.3 (Type D) And CSA B481.1. Provide With Traffic Rated Cast Iron Cover. Install Per Manufacturers Requirements.) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
SUMP PUMP
131 |  |  | SP-1, Performance Data (Capacity (GPM): 50, Pump Head (FT. W.C.) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
132 |  |  | SP-2, Performance Data (Capacity (GPM): 50, Pump Head (FT. W.C.) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
INSTANEOUS WATER HEATER
133 |  |  | IWH-1, Type (Electric), Temp Rise At 0.5 GPM (25 Deg F), Max Operating Pressure (150 PSIG) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
BOOSTER PUMP
134 |  |  | BP-1, Domestic Water, GPM:135.0, FT.WC:50.0 | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
PLUMBING EQUIMENT
135 |  |  | HT-1 (Schedule Not Given, Contractor To Verify That If Required) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
MISCELLANEOUS
CLEANOUTS & DRAINS
136 |  |  | 3" FD, Fixture Name: (FLOOR DRAIN), Type (-), Basis of Design (ZURN), Description (Cast Iron Body, Bottom Outlet, Invertible Membrane Clamp, Adjustable Collar, Nickel Bronze Strainer, Provide With Trap Guard. Coordinate With Architectural Specified Shower And/or Tub.) | EA | 20 | 0% | 20 | 0 | 0 | 0 | 0 | 0 | 0
137 |  |  | 3" SD, Fixture Name: (SECONDARY DRAIN), Type (-), Basis of Design (ZURN), Description (12" Diameter, Dura Coated Cast Iron Body With Membrane Flashing Clamp, Low Silhouette Poly-Dome. Provide With 2" External Water Dam.) | EA | 6 | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0
138 |  |  | 3" RD, Fixture Name: (ROOF DRAIN), Type (-), Basis of Design (ZURN), Description (12" Diameter, Dura Coated Cast Iron Body With Membrane Flashing Clamp, Low Silhouette Poly-Dome.) | EA | 6 | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0
139 |  |  | 4" SD, Fixture Name: (SECONDARY DRAIN), Type (-), Basis of Design (ZURN), Description (12" Diameter, Dura Coated Cast Iron Body With Membrane Flashing Clamp, Low Silhouette Poly-Dome. Provide With 2" External Water Dam.) | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
140 |  |  | 4" RD, Fixture Name: (ROOF DRAIN), Type (-), Basis of Design (ZURN), Description (12" Diameter, Dura Coated Cast Iron Body With Membrane Flashing Clamp, Low Silhouette Poly-Dome.) | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
141 |  |  | COTG, Grade Cleanout | EA | 6 | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0
142 |  |  | WCO, Wall Cleanout | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
143 |  |  | CO, Cleanout | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
VTRS
144 |  |  | 3" Dia Vent Thura Roof | EA | 27 | 0% | 27 | 0 | 0 | 0 | 0 | 0 | 0
VALVES
145 |  |  | MV, Fixture Name: (MIXING VALVE), Type (-), Basis of Design (LEONARD), Description (Factory Pre Assembled And Tested, High Low Manifold System. Unstrict Mounted Assembly With Two Large Thermostatic Mixing Valves And Two Small Thermostatic Mixing Valve, 2 GPM Min Flow, Regulator Knobs, Adjustable High Temperature Limits, 125 PSI Operating Pressure. Color Coded Dials, Locking Temperature Regulators, Angle Strainer Check stops, Full Port Ball Valves, Inlet And Return Piping Manifold, With Aqua stat, Circ Pump (See Schedule), 125 PSI Operating Pressure. Similar To Leonard TM-2020B-2PS-LF. Single Valve Flowrate Is 78 GPM With 5 PSI Pressure Drop.) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
146 |  |  | 3/4" Dia HWR Balancing Valve | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
147 |  |  | 1" Dia Gas Solenoid Valve | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
148 |  |  | Emergency Gas Shut-Off Button | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
149 |  |  | Ball Valves | EA | 51 | 0% | 51 | 0 | 0 | 0 | 0 | 0 | 0
MANIFOLD
150 |  |  | Manifold (For Pax Pipes) | EA | 70 | 0% | 70 | 0 | 0 | 0 | 0 | 0 | 0
WATER HAMMER ARRESTORS
151 |  |  | Water Hammer Arrestors (Assumed) | EA | 10 | 0% | 10 | 0 | 0 | 0 | 0 | 0 | 0
TRENCHING & BACKFILLING
152 |  |  | Excavation & Backfilling (3' Deep x 1' Wide Trench) Including All Labor and Material/Equipment | CFT |  | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | SUBTOTAL | 0
HVAC
REFRIGERANT PIPE (BELOW GRADE)
| M-101, M-102, M-103, M-104, M-105 & M-106 | Material Assumed | Type 'K' Copper Pipe W/ All ASTM Standards & Fittings.
153 |  |  | 3/8" Dia Liquid Refrigerant Pipe | LF | 48 | 10% | 52.8 | 0 | 0 | 0 | 0 | 0 | 0
154 |  |  | 5/8" Dia Suction Refrigerant Pipe | LF | 48 | 10% | 52.8 | 0 | 0 | 0 | 0 | 0 | 0
|  | Material Assumed | 1" Thick Fiber Glass Insulation W/ All ASTM Standards & Fittings
155 |  |  | 3/8" Dia Liquid Refrigerant Pipe | LF | 48 | 10% | 52.8 | 0 | 0 | 0 | 0 | 0 | 0
156 |  |  | 5/8" Dia Suction Refrigerant Pipe | LF | 48 | 10% | 52.8 | 0 | 0 | 0 | 0 | 0 | 0
REFRIGERANT PIPE (ABOVE GRADE)
|  | Material Assumed | Type 'L' Copper Pipe W/ All ASTM Standards & Fittings.
157 |  |  | 3/8" Dia Liquid Refrigerant Pipe | LF | 574 | 10% | 631.4 | 0 | 0 | 0 | 0 | 0 | 0
158 |  |  | 5/8" Dia Suction Refrigerant Pipe | LF | 574 | 10% | 631.4 | 0 | 0 | 0 | 0 | 0 | 0
|  | Material Assumed | 1" Thick Fiber Glass Insulation W/ All ASTM Standards & Fittings
159 |  |  | 3/8" Dia Liquid Refrigerant Pipe | LF | 497 | 10% | 546.7 | 0 | 0 | 0 | 0 | 0 | 0
160 |  |  | 5/8" Dia Suction Refrigerant Pipe | LF | 497 | 10% | 546.7 | 0 | 0 | 0 | 0 | 0 | 0
3/4" Thick Unicellular Insulation W/ All ASTM Standards & Fittings
161 |  |  | 3/8" Dia Liquid Refrigerant Pipe | LF | 77 | 10% | 84.7 | 0 | 0 | 0 | 0 | 0 | 0
162 |  |  | 5/8" Dia Suction Refrigerant Pipe | LF | 77 | 10% | 84.7 | 0 | 0 | 0 | 0 | 0 | 0
ALLOWANCE
163 |  |  | Allowance for Refrigerant Pipe Fittings, Hangers & Supports with All Relevant Accessories. | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
|  | As Per Mechanical Plans | CONDENSATE DRAIN PIPE
Type 'L' Copper Pipe W/ All ASTM Standards & Fittings.
164 |  |  | 3/4" Dia Condensate Pipe | LF | 18 | 10% | 19.8 | 0 | 0 | 0 | 0 | 0 | 0
1" Thick Flexible Elastomeric Cellular Insulation & Vapor Barrier W/ All ASTM Standards & Fittings
165 |  |  | 3/4" Dia Condensate Pipe | LF | 18 | 10% | 19.8 | 0 | 0 | 0 | 0 | 0 | 0
ALLOWANCE
166 |  |  | Allowance for Condensate Pipe Fittings, Hangers & Supports with All Relevant Accessories. | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
AIR DEVICES
167 |  |  | 6"x4" Supply Air Register, 35CFM, TITUS 300FS | EA | 38 | 0% | 38 | 0 | 0 | 0 | 0 | 0 | 0
168 |  |  | 6"x4" Supply Air Register, 45CFM, TITUS 300FS | EA | 31 | 0% | 31 | 0 | 0 | 0 | 0 | 0 | 0
169 |  |  | 6"x6" Supply Air Register, 50CFM, TITUS 300FS | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
170 |  |  | 6"x6" Supply Air Register, 100CFM, TITUS 300FS | EA | 7 | 0% | 7 | 0 | 0 | 0 | 0 | 0 | 0
171 |  |  | 8"x8" Supply Air Register, 140CFM, TITUS 300FS | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
172 |  |  | 8"x8" Supply Air Register, 150CFM, TITUS 300FS | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
173 |  |  | 8"x6" Supply Air Register, 175CFM, TITUS 300FS | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
174 |  |  | 8"x8" Supply Air Register, 175CFM, TITUS 300FS | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
175 |  |  | 8"x8" Supply Air Register, 190CFM, TITUS 300FS | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
176 |  |  | 8"x8" Supply Air Register, 200CFM, TITUS 300FS | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
177 |  |  | 8"x8" Supply Air Register, 225CFM, TITUS 300FS | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
178 |  |  | 10"x10" Supply Air Register, 300 CFM, TITUS 300FS | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
179 |  |  | 12"x10" Supply Air Register 330 CFM, TITUS 300FS | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
180 |  |  | 24"x24" Supply Air Register, TITUS 300FS | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
181 |  |  | 6"x6" Return Air Register, 100CFM TITUS 350ZF | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
182 |  |  | 8"x8" Return Air Register, 170CFM TITUS 350ZF | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
183 |  |  | 8"x8" Return Air Register, 200CFM TITUS 350ZF | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
184 |  |  | 8"x8" Return Air Register, 230CFM TITUS 350ZF | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
185 |  |  | 10"x10" Return Air Register, 415CFM TITUS 350ZF | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
186 |  |  | 12"x12" Return Air Register, 450CFM TITUS 350ZF | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
187 |  |  | 22"x10" Return Air Register, 660CFM TITUS 350ZF | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
188 |  |  | 14"x14" Return Air Register, 690CFM TITUS 350ZF | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
189 |  |  | 22"x22" Return Air Register, 1450CFM TITUS 350ZF | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
190 |  |  | 6"x6" Exhaust Air Register, 25CFM TITUS 350ZF | EA | 70 | 0% | 70 | 0 | 0 | 0 | 0 | 0 | 0
191 |  |  | 8"x8" Exhaust Air Register, 50CFM TITUS 350ZF | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
192 |  |  | 10"x10" Exhaust Air Register, 275CFM TITUS 350ZF | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
193 |  |  | 8"x8" Exhaust Air Register, 660CFM TITUS 350ZF | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
194 |  |  | 12"x12" Exhaust Air Register, 400CFM TITUS 350ZF | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
195 |  |  | 12"x12" Exhaust Air Register, 425CFM TITUS 350ZF | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
196 |  |  | 12"x12" Exhaust Air Louver, RUSKIN EME520DDE | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
197 |  |  | 16"x12" Outside Air Louver, RUSKIN EME520DDE | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
198 |  |  | 10"x10" Transfer Air Grille TITUS 350ZF | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
199 |  |  | Dia 6" Ceiling Diffuser, 50Cfm, TITUS OMNI-AA | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
200 |  |  | Dia 6" Ceiling Diffuser, 70Cfm, TITUS OMNI-AA | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
201 |  |  | Dia 6" Ceiling Diffuser 100Cfm, TITUS OMNI-AA | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
202 |  |  | Dia 8" Ceiling Diffuser, 75Cfm, TITUS OMNI-AA | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
203 |  |  | Dia 8" Ceiling Diffuser, 200Cfm, TITUS OMNI-AA | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
204 |  |  | Dia 8" Ceiling Diffuser, 230Cfm, TITUS OMNI-AA | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
205 |  |  | Dia 12" Ceiling Diffuser, 400Cfm, TITUS OMNI-AA | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
206 |  |  | LD-1, Linear Slot Diffuser-1, 250Cfm | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
207 |  |  | 24"x32" Louvers for Pool Heater Combustion Air | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
PACKAGED TERMINAL AIR CONDITIONING UNIT
208 |  |  | PTAC-A, Packaged Terminal Air Conditioning Unit, Fan CFM: 330, Min. Total Cap. (MBH): 12.0, Min. EER: 11.8, Dehumidification (PMTS/HR): 1.7, Ambient Air DB/WB: 85.0 / 72.7, Min. Heating Cap. (MBH): 11.1, Min. COP: 3.4, Strip Heat Capacity (kW): 2.5, Electrical: 208V / 1 PH / 60 Hz. Notes Provide with grille and remote control interface. Provide with insulated metal or thermoplastic wall sleeve, complete with drain kit and sub base. Provide with R-32 refrigerant. Provide with 2 speed fan (high/low). Provide 24 VAC transformer for control. Basis of design is AMANA PTAC HEAT PUMPS WITH AUXILLARY HEAT. Provide with Electronic digital thermostat must be hard wired, remote, and wall mounted. | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
209 |  |  | PTAC-B, Packaged Terminal Air Conditioning Unit, Fan CFM: 290, Min. Total Cap. (MBH): 9.0, Min. EER: 13.0, Dehumidification (PMTS/HR): 2.0, Ambient Air DB/WB: 85.0 / 72.7, Min. Heating Cap. (MBH): 8.2, Min. COP: 3.9, Strip Heat Capacity (kW): 2.5, Electrical: 208V / 1 PH / 60 Hz. Notes Provide with grille and remote control interface. Provide with insulated metal or thermoplastic wall sleeve, complete with drain kit and sub base. Provide with R-32 refrigerant. Provide with 2 speed fan (high/low). Provide 24 VAC transformer for control. Basis of design is AMANA PTAC HEAT PUMPS WITH AUXILLARY HEAT. Provide with Electronic digital thermostat must be hard wired, remote, and wall mounted. | EA | 74 | 0% | 74 | 0 | 0 | 0 | 0 | 0 | 0
DX SPLIT SYSTEM AIR HANDLING UNIT
INDOOR UNIT
210 |  |  | AHU-1 – DX Split System Air Handling Unit, TRANE, Airflow: 1,600 CFM, OA: 150 CFM, ESP: 0.6 in.w.g. Cooling Coil Performance: Total 42.7 MBH, Sensible 35.4 MBH, Latent 7.3 MBH. Heating Coil Performance: Total 33.2 MBH, HSPF 7.7. Compressor: 1 Qty, RLA: 18.1 A. Fan: 1 Qty, FLA: 2.8 A. Electrical: 208V / 1Ph / 60Hz. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
211 |  |  | AHU-2 – DX Split System Air Handling Unit, TRANE, Airflow: 1,650 CFM, OA: 330 CFM, ESP: 0.75 in.w.g. Cooling Coil Performance: Total 56.7 MBH, Sensible 34.7 MBH, Latent 22.0 MBH. Heating Coil Performance: Total 41.0 MBH, HSPF 7.7. Compressor: 1 Qty, RLA: 22.3 A. Fan: 1 Qty, FLA: 2.8 A. Electrical: 208V / 1Ph / 60Hz. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
212 |  |  | AHU-3 – DX Split System Air Handling Unit, TRANE, Airflow: 450 CFM, OA: 35 CFM, ESP: 0.5 in.w.g. Cooling Coil Performance: Total 12.0 MBH, Sensible 8.5 MBH, Latent 3.5 MBH. Heating Coil Performance: Total 8.9 MBH, HSPF 7.7. Compressor: 1 Qty, RLA: 7.8 A. Fan: 1 Qty, FLA: 0.77 A. Electrical: 208V / 1Ph / 60Hz. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
213 |  |  | AHU-4 – DX Split System Air Handling Unit, TRANE, Airflow: 1,800 CFM, OA: 250 CFM, ESP: 1.0 in.w.g. Cooling Coil Performance: Total 52.9 MBH, Sensible 40.1 MBH, Latent 12.8 MBH. Heating Coil Performance: Total 42.8 MBH, HSPF 7.7. Compressor: 1 Qty, RLA: 22.3 A. Fan: 1 Qty, FLA: 2.8 A. Electrical: 208V / 1Ph / 60Hz. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
214 |  |  | AHU-5 – DX Split System Air Handling Unit, TRANE, Airflow: 1,350 CFM, OA: 160 CFM, ESP: 0.5 in.w.g. Cooling Coil Performance: Total 37.7 MBH, Sensible 30.2 MBH, Latent 7.5 MBH. Heating Coil Performance: Total 30.3 MBH, HSPF 7.7. Compressor: 1 Qty, RLA: 13.5 A. Fan: 1 Qty, FLA: 0.64 A. Electrical: 208V / 1Ph / 60Hz. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
OUTDOOR UNIT
215 |  |  | HP-1 – Split System Heat Pump, TRANE, Heating Performance: 33.2 MBH, HSPF: 7.7. Compressor: 1 Qty, RLA: 18.1 A. Fan (Outdoor): 1 Qty, FLA: 2.8 A. Ambient Conditions: Summer DB 86°F / WB 72.7°F, Winter DB 12.9°F. Electrical: 208V / 1Ph / 60Hz. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
216 |  |  | HP-2 – Split System Heat Pump, TRANE, Heating Performance: 41.0 MBH, HSPF: 7.7. Compressor: 1 Qty, RLA: 22.3 A. Fan (Outdoor): 1 Qty, FLA: 2.8 A. Ambient Conditions: Summer DB 86°F / WB 72.7°F, Winter DB 12.9°F. Electrical: 208V / 1Ph / 60Hz. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
217 |  |  | HP-3 – Split System Heat Pump, TRANE, Heating Performance: 8.9 MBH, HSPF: 7.7. Compressor: 1 Qty, RLA: 7.8 A. Fan (Outdoor): 1 Qty, FLA: 0.77 A. Ambient Conditions: Summer DB 86°F / WB 72.7°F, Winter DB 12.9°F. Electrical: 208V / 1Ph / 60Hz. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
218 |  |  | HP-4 – Split System Heat Pump, TRANE, Heating Performance: 42.8 MBH, HSPF: 7.7. Compressor: 1 Qty, RLA: 22.3 A. Fan (Outdoor): 1 Qty, FLA: 2.8 A. Ambient Conditions: Summer DB 86°F / WB 72.7°F, Winter DB 12.9°F. Electrical: 208V / 1Ph / 60Hz. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
219 |  |  | HP-5 – Split System Heat Pump, TRANE, Heating Performance: 30.3 MBH, HSPF: 7.7. Compressor: 1 Qty, RLA: 13.5 A. Fan (Outdoor): 1 Qty, FLA: 0.64 A. Ambient Conditions: Summer DB 86°F / WB 72.7°F, Winter DB 12.9°F. Electrical: 208V / 1Ph / 60Hz. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
Notes for (DX SPLIT SYSTEM AIR HANDLING UNIT ) 1. AHU-5 shall be of the horizontal configuration. All other units shall be of the vertical configuration. 2. Provide all vertical units with McDaniels labor saver with filter housing. 3. Provide with ECM motor. Provide multi-speed direct drive fan. 4. Provide R-454B refrigerant. 5. Provide with scroll compressor and long-line kit. 6. Provide 2" pleated MERV-13 filters, maximum filter velocity 360 FPM. 7. Provide concrete pad for condensing unit mounting. 8. Provide unit with condenser coil guards, compressor time delay restart control, filter dryer, refrigerant sight glass, automatic defrost cycle, thermostat, and adjustable expansion valve. 9. Provide AHU-2 and AHU-4 with duct heater with SCR controls for electric heat.
DUCTLESS SPLIT SYSTEM
INDOOR UNIT
220 |  |  | DAC-1, Ductless Split System, MITSUBISHI MR. SLIM, Cooling Capacity: 6.0 MBH, Min. SEER: 32, Airflow: 340 CFM, Heating COP @47*F: 4.7, Electrical: 208V/1Ph/60Hz. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
221 |  |  | DAC-2, Ductless Split System, MITSUBISHI MR. SLIM, Cooling Capacity: 6.0 MBH, Min. SEER: 32, Airflow: 340 CFM, Heating COP @47*F: 4.7: 4.7, Electrical: 208V/1Ph/60Hz. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
222 |  |  | DAC-3, Ductless Split System, MITSUBISHI MR. SLIM, Cooling Capacity: 12.0 MBH, Min. SEER: 23, Airflow: 300 CFM, Heating COP @47*F: NOT APPLICABLE, Electrical: 208V/1Ph/60Hz. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
OUTDOOR UNIT
223 |  |  | DCU-1, Ductless Split System, MITSUBISHI MR. SLIM, Compressor Qty: 1, Condenser Fan Qty: 1, Electrical: 208V/1Ph/60Hz. Notes: Provide compressor with anti-short cycle controls and time delay on compressor restart. Provide outdoor unit with corrosion protection for coils and casings. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
224 |  |  | DCU-2, Ductless Split System, MITSUBISHI MR. SLIM, Compressor Qty: 1, Condenser Fan Qty: 1, Electrical: 208V/1Ph/60Hz. Notes: Provide compressor with anti-short cycle controls and time delay on compressor restart. Provide outdoor unit with corrosion protection for coils and casings. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
225 |  |  | DCU-3, Ductless Split System, MITSUBISHI MR. SLIM, Compressor Qty: 1, Condenser Fan Qty: 1, Electrical: 208V/1Ph/60Hz. Notes: Provide compressor with anti-short cycle controls and time delay on compressor restart. Provide outdoor unit with corrosion protection for coils and casings. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
EXHAUST FAN
226 |  |  | EF-1 – Ceiling Exhaust Fan, Direct Drive, Airflow: 50 CFM, ESP: 0.25 in.w.g., Max RPM: 850, Max Sones: 1.0, Motor: 13 W, 115V / 1Ph / 60Hz Notes: Provide fan with speed controller for air-flow balancing. Mount controller within fan housing. Provide fan with integral disconnect. Provide gravity backdraft damper. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
227 |  |  | EF-2 – Inline Cabinet Fan, Direct Drive, Airflow: 200 CFM, ESP: 0.50 in.w.g., Max RPM: 1,100, Max Sones: 2.0, Motor: 48 W, 115V / 1Ph / 60Hz Notes: Provide fan with speed controller for air-flow balancing. Mount controller within fan housing. Provide fan with integral disconnect. Provide gravity backdraft damper. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
228 |  |  | EF-3 – Roof Exhaust Fan, Direct Drive, Airflow: 100 CFM, ESP: 0.50 in.w.g., Max RPM: 1,150, Max Sones: 5.0, Motor: 1/4 HP, 115V / 1Ph / 60Hz Notes: Provide fan with speed controller for air-flow balancing. Mount controller within fan housing. Provide fan with integral disconnect. Provide gravity backdraft damper. | EA | 6 | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0
229 |  |  | EF-4 – Roof Exhaust Fan, Direct Drive, Airflow: 125 CFM, ESP: 0.50 in.w.g., Max RPM: 1,200, Max Sones: 6.0, Motor: 1/4 HP, 115V / 1Ph / 60Hz Notes: Provide fan with speed controller for air-flow balancing. Mount controller within fan housing. Provide fan with integral disconnect. Provide gravity backdraft damper. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
230 |  |  | EF-5 – Ceiling Exhaust Fan, Direct Drive, Airflow: 150 CFM, ESP: 0.50 in.w.g., Max RPM: 1,300, Max Sones: 6.0, Motor: 1/4 HP, 115V / 1Ph / 60Hz Notes: Provide fan with speed controller for air-flow balancing. Mount controller within fan housing. Provide fan with integral disconnect. Provide gravity backdraft damper. | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
231 |  |  | EF-6 – Ceiling Exhaust Fan, Direct Drive, Airflow: 50 CFM, ESP: 0.25 in.w.g., Max RPM: 850, Max Sones: 1.0, Motor: 13 W, 115V / 1Ph / 60Hz Notes: Provide fan with speed controller for air-flow balancing. Mount controller within fan housing. Provide fan with integral disconnect. Provide gravity backdraft damper. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
232 |  |  | EF-7 – Roof Exhaust Fan, Direct Drive, Airflow: 400 CFM, ESP: 0.50 in.w.g., Max RPM: 1,550, Max Sones: 8.0, Motor: 1/15 HP, 115V / 1Ph / 60Hz Notes: Provide fan with speed controller for air-flow balancing. Mount controller within fan housing. Provide fan with integral disconnect. Provide gravity backdraft damper. | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
233 |  |  | EF-8 – Roof Exhaust Fan, Direct Drive, Airflow: 50 CFM, ESP: 0.25 in.w.g., Max RPM: 1,100, Max Sones: 2.0, Motor: 1/200 HP, 115V / 1Ph / 60Hz Notes: Provide fan with speed controller for air-flow balancing. Mount controller within fan housing. Provide fan with integral disconnect. Provide gravity backdraft damper. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
234 |  |  | EF-9 – Roof Exhaust Fan, Direct Drive, Airflow: 75 CFM, ESP: 0.25 in.w.g., Max RPM: 1,400, Max Sones: 3.0, Motor: 1/15 HP, 115V / 1Ph / 60Hz Notes: Provide fan with speed controller for air-flow balancing. Mount controller within fan housing. Provide fan with integral disconnect. Provide gravity backdraft damper. | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
ELECTRIC UNIT HEATER
235 |  |  | EUH-1, Electric Unit Heater, Heat KW: 2.6, Fan CFM: 410, Motor HP: 1/40, Motor RPM: 1,650, Electrical: 208 Volts, 1 Phase, 60 Hz. Notes Provide with manufacturer's mounting bracket. Provide with integral thermostat, disconnect, Birdscreen, and low voltage controls transformer. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
236 |  |  | EUH-2, Electric Unit Heater, Heat KW: 2.6, Fan CFM: 410, Motor HP: 1/40, Motor RPM: 1,650, Electrical: 208 Volts, 1 Phase, 60 Hz. Notes Provide with manufacturer's mounting bracket. Provide with integral thermostat, disconnect, Birdscreen, and low voltage controls transformer. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
ELECTRIC DUCT HEATER
237 |  |  | DH-1, Electric Duct Heater, GREENHECK, Heat KW: 13.3, AHU Served: AHU-2, Electrical: 208 Volts, 1 Phase, 60 Hz. Notes: Provide with hinged control cabinet cover. Provide with SCR controls. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
238 |  |  | DH-2, Electric Duct Heater, GREENHECK, Heat KW: 12.6, AHU Served: AHU-4, Electrical: 208 Volts, 1 Phase, 60 Hz. Notes: Provide with hinged control cabinet cover. Provide with SCR controls. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
DX SPLIT SYSTEM POOL DEHUMIDIFICATION UNIT
239 |  |  | OAU-3, DX Split System Pool Dehumidification Unit, DECTRON, Total Airflow: 1,650 CFM, OA Airflow: 430 CFM, ESP: 0.5 in W.C., Total Capacity: 59.3 MBH, Sensible Capacity: 37.5 MBH, Latent Capacity: 21.8 MBH, Entering Air DB/WB: 85 / 73.9. Moisture Removal: 20.2 LBS/HR. EER: 14.0. Min. Strip Heat (kW): 3.6. Fan Motor: 3/4 HP. Electrical: 208V, 3 Phase, 60 Hz. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
240 |  |  | Outdoor Unit (OACU-3) Condensing Data, Ambient Temp (Summer): 86.0 DB / 73.0 WB (Deg F), Ambient Temp (Winter): 12.9 DB (Deg F). Electrical: 208V, 3 Phase, 60 Hz. | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
Notes for (DX SPLIT SYSTEM POOL DEHUMIDIFICATION UNIT) Provide Unit With R-4548 Refrigerant. Provide Factory Mounted Fire Stats To Shut Unit Down Upon Detection Of Excessive Heat In The Supply Side Discharge Of Unit. Provide With Merv 13 Filters. Provide Control Kit To Include Blower Contactor Or Starter, Transformer, Electric Heater Interlocks And Lockouts. Provide Electric Heat With Modulating Control Provide Hot Gas Bypass For Evaporator Coil Freeze Protection. Provide Hot Gas Reheat Coil Provide With Two-Stage Scroll Compressor. Provide Unit With Condenser Coil Guards, Time Delay On Restart Control, Filter Dryer, Refrigerant Sight Glass, Provide Concrete Pad for Condensing Unit Mounting. Automatic Defrost Cycle, Thermostat, And Adjustable Expansion Valve.
DX PACKAGED ROOF MOUNTED 100% OA UNIT
241 |  |  | OAU-1 – DX Packaged 100% Outdoor Air Unit, Valent, Fan: 1 Qty, 2 HP Motor, Total Airflow: 1,950 CFM, Outside Air: 1,950 CFM, ESP: 1.0 in.w.g. Cooling Performance: EAT 80.3°F DB / 74.7°F WB, LAT 54.0°F DB / 54.0°F WB Cooling Capacities: Total 146.4 MBH, Sensible 55.4 MBH, Latent 91.0 MBH Face Velocity: 350 FPM, Minimum ISMRE: 6.1 HGRH Performance: EAT 54°F DB, LAT 70°F DB, Total Capacity: 34 MBH Gas Heating Performance: EAT 13°F DB / 85°F LAT, Gas Output: 152 MBH, Input: 190 MBH, Efficiency: 80% Compressor: 1 Qty, RLA 38.4 Condenser Fans: 2 Qty Electrical: Unit MCA 63.1 | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
242 |  |  | OAU-2 – DX Packaged 100% Outdoor Air Unit, Valent, Fan: 1 Qty, 2 HP Motor, Total Airflow: 2,080 CFM, Outside Air: 2,080 CFM, ESP: 1.0 in.w.g. Cooling Performance: EAT 80.3°F DB / 74.7°F WB, LAT 54.0°F DB / 54.0°F WB Cooling Capacities: Total 156.1 MBH, Sensible 59.1 MBH, Latent 97.0 MBH Face Velocity: 350 FPM, Minimum ISMRE: 6.1 HGRH Performance: EAT 54°F DB, LAT 70°F DB, Total Capacity: 36 MBH Gas Heating Performance: EAT 13°F DB / 85°F LAT, Gas Output: 162 MBH, Input: 202 MBH, Efficiency: 80% Compressor: 1 Qty, RLA 38.4 Condenser Fans: 2 Qty Electrical: Unit MCA 63.1 | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
NOTES (for OAU Units) 1. Provide unit with R-454B refrigerant and ensure compliance with the latest applicable AHRI Standard 920. 2. Provide factory or field-mounted fire stats to shut down unit upon detection of excessive heat in the discharge of unit. 3. Provide control kit including blower contactor or starter, transformer, electric heater interlocks, and lockouts. 4. Provide gas heat with modulating 4:1 turndown. Provide direct spark ignition and power venting. 5. Provide MERV-13 filters. 6. Provide hot gas reheat coil to reheat air to neutralize leaving air temperature during cooling mode. 7. Provide hot gas bypass to prevent coil freeze-up. 8. Provide unit with condenser coil guards, compressor time-delay on restart control, filter dryer, refrigerant sight glass, and adjustable expansion valve. 9. Provide unit with phase and brownout protection, condensate overflow unit shutdown, and damper end switch. 10. Provide manufacturer's weather hood and roof curb.
DAMPERS
243 |  |  | 6"x6" Volume Damper | EA | 13 | 0% | 13 | 0 | 0 | 0 | 0 | 0 | 0
244 |  |  | 8"x8" Volume Damper | EA | 18 | 0% | 18 | 0 | 0 | 0 | 0 | 0 | 0
245 |  |  | 8"x6" Volume Damper | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
246 |  |  | 10"x10" Volume Damper | EA | 14 | 0% | 14 | 0 | 0 | 0 | 0 | 0 | 0
247 |  |  | 12"x12" Volume Damper | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
248 |  |  | 14"x14" Volume Damper | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
249 |  |  | 14"x10" Volume Damper | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
250 |  |  | 16"x14" Volume Damper | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
251 |  |  | 16"x12" Volume Damper | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
252 |  |  | 22"x10" Volume Damper | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
253 |  |  | Dia 4" Volume Damper | EA | 66 | 0% | 66 | 0 | 0 | 0 | 0 | 0 | 0
254 |  |  | Dia 6" Volume Damper | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
255 |  |  | Dia 8" Volume Damper | EA | 6 | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0
256 |  |  | Dia 12" Volume Damper | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
257 |  |  | 8"x8" Fire Damper | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
258 |  |  | 10"x10" Fire Damper | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
259 |  |  | 12"x10" Fire Damper | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
260 |  |  | 14"x14" Fire Damper | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
261 |  |  | 16"x14" Fire Damper | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
262 |  |  | 18"x18" Fire Damper | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
263 |  |  | 22"x14" Fire Damper | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
264 |  |  | Dia 8" Fire Damper | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
DUCT WEIGHT
265 |  |  | Galvanized Sheet Metal Duct | LB | 9252 | 10% | 10177.2 | 0 | 0 | 0 | 0 | 0 | 0
DUCT INSULATION
266 |  |  | 2" Thick Fiber Glass Duct Insulation | SF | 7292 | 10% | 8021.2 | 0 | 0 | 0 | 0 | 0 | 0
267 |  |  | 2" Thick Fiber Glass Duct Internal Lining Insulation | SF | 272 | 10% | 299.2 | 0 | 0 | 0 | 0 | 0 | 0
268 |  |  | 1" Thick Acoustical Duct Liner | SF | 145 | 10% | 159.5 | 0 | 0 | 0 | 0 | 0 | 0
MISCELLANEOUS
269 |  |  | 6" Dia Bird Screen | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
270 |  |  | Thermostat | EA | 8 | 0% | 8 | 0 | 0 | 0 | 0 | 0 | 0
ALLOWANCE
271 |  |  | Allowance for all Duct Fittings (Duct Takeoff, Transitions, Reducers & Elbows), Hangers, Supports with all Relevant Accessories. (SF 47094) | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | SUBTOTAL | 0
ELECTRICAL
| Sheet # E-201, E-202, E-203, E-301, E-302, E-303, E-304, E-305, E-308, E-401, E-402, E-403, E-501, E-502, E-503, E-504, E-505, E-506 | From Electrical Drawings | DISTRIBUTION
CIRCUIT BREAKER
272 |  |  | 1P/15A Circuit Breaker | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
273 |  |  | 2P/15A Circuit Breaker | EA | 7 | 0% | 7 | 0 | 0 | 0 | 0 | 0 | 0
274 |  |  | 1P/20A Circuit Breaker | EA | 157 | 0% | 157 | 0 | 0 | 0 | 0 | 0 | 0
275 |  |  | 1P/20A Circuit Breaker AFCI | EA | 631 | 0% | 631 | 0 | 0 | 0 | 0 | 0 | 0
276 |  |  | 2P/20A Circuit Breaker | EA | 17 | 0% | 17 | 0 | 0 | 0 | 0 | 0 | 0
277 |  |  | 2P/20A Circuit Breaker | EA | 70 | 0% | 70 | 0 | 0 | 0 | 0 | 0 | 0
278 |  |  | 3P/20A Circuit Breaker | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
279 |  |  | 2P/30A Circuit Breaker | EA | 8 | 0% | 8 | 0 | 0 | 0 | 0 | 0 | 0
280 |  |  | 3P/30A Circuit Breaker | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
281 |  |  | 3P/40A Circuit Breaker | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
282 |  |  | 1P/60A Circuit Breaker | EA | 7 | 0% | 7 | 0 | 0 | 0 | 0 | 0 | 0
283 |  |  | 3P/60A Circuit Breaker | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
284 |  |  | 3P/80A Circuit Breaker | EA | 71 | 0% | 71 | 0 | 0 | 0 | 0 | 0 | 0
285 |  |  | 2P/100A Circuit Breaker | EA | 75 | 0% | 75 | 0 | 0 | 0 | 0 | 0 | 0
286 |  |  | 3P/125A Circuit Breaker | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
287 |  |  | 3P/200A Circuit Breaker | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
288 |  |  | 3P/225A Circuit Breaker | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
289 |  |  | 3P/2500A Main Circuit Breaker | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
290 |  |  | 3P/400A Circuit Breaker | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
291 |  |  | 3P/600A Circuit Breaker | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
PANEL
292 |  |  | Panel 1A, 400A MLO, 120/208V, 3PH, 4W, 49743 AIC, Surface Mounted, NEMA 1, 54 Poles | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
293 |  |  | Panel 1B, 400A MLO, 120/208V, 3PH, 4W, 49743 AIC, Surface Mounted, NEMA 1, 54 Poles | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
294 |  |  | Panel 1C, 225A MLO, 120/208V, 3PH, 4W, 45667 AIC, Surface Mounted, NEMA 1, 54 Poles | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
295 |  |  | Panel 1G, 125A MLO, 120/208V, 3PH, 4W, 14968 AIC, Surface Mounted, NEMA 1, 42 Poles | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
296 |  |  | Panel 1GDP, 600A MLO, 120/208V, 3PH, 4W, 50,883 AIC, Surface Mounted, NEMA 1, 54 Poles | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
297 |  |  | Panel 1K, 225A MLO, 120/208V, 3PH, 4W, 16137 AIC, Surface Mounted, NEMA 1, 42 Poles | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
298 |  |  | Panel 1LA, 225A MLO, 120/208V, 3PH, 4W, 33035 AIC, Surface Mounted, NEMA 1, 42 Poles | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
299 |  |  | Panel 1PL, 125A MLO, 120/208V, 3PH, 4W, 7212 AIC, Surface Mounted, NEMA 1, 24 Poles | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
300 |  |  | Panel 2A, 125A MLO, 120/208V, 3PH, 4W, Surface Mounted, NEMA 1, 42 Poles | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
301 |  |  | Panel 2GDP, 600A MLO, 120/208V, 3PH, 4W, Surface Mounted, NEMA 1, 72 Poles | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
302 |  |  | Panel 3A, 125A MLO, 120/208V, 3PH, 4W, Surface Mounted, NEMA 1, 42 Poles | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
303 |  |  | Panel 3GDP, 600A MLO, 120/208V, 3PH, 4W, Surface Mounted, NEMA 1, 72 Poles | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
304 |  |  | Panel DIM, 20A MLO, 120/208V, 3PH, 4W, 7996 AIC, Surface Mounted, NEMA 1, 24 Poles | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
305 |  |  | Panel K1BA, 100A MLO, 120/208V, 1PH, 3W,Surface Mounted, NEMA 1, 24 Poles | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
306 |  |  | Panel KBA, 100A MLO, 120/208V, 1PH, 3W,Surface Mounted, NEMA 1, 24 Poles | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
307 |  |  | Panel KS, 100A MLO, 120/208V, 1PH, 3W,Surface Mounted, NEMA 1, 24 Poles | EA | 38 | 0% | 38 | 0 | 0 | 0 | 0 | 0 | 0
308 |  |  | Panel KSC, 100A MLO, 120/208V, 1PH, 3W,Surface Mounted, NEMA 1, 24 Poles | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
309 |  |  | Panel MSB, 2500A MCB, 120/280V, 3PH, 4W, Surface Mounted, 54617 AIC, Surface Mounted,60 Poles NMEA 1 | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
310 |  |  | Panel OL, 225A MLO, 120/208V, 3PH, 4W, 45667 AIC, Surface Mounted, NEMA 1, 54 Poles | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
311 |  |  | Panel QQA, 100A MLO, 120/208V, 1PH, 3W,Surface Mounted, NEMA 1, 24 Poles | EA | 26 | 0% | 26 | 0 | 0 | 0 | 0 | 0 | 0
312 |  |  | Panel REF, 200A MLO, 120/208V, 3PH, 4W, 10KAIC, Surface Mounted, NEMA 1, 42 Poles, Rating Assumed | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
DEVICES
313 |  |  | 3P/30A Surge Protection Device | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
DISCONNECT SWITCH
314 |  |  | 2P/20A Fused Disconnect Switch | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
315 |  |  | 2P/20A Non Fused Disconnect Switch | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
316 |  |  | 2P/30A Non Fused Disconnect Switch | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
317 |  |  | 2P/30A Non Fused Disconnect Switch, NEMA 3R | EA | 6 | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0
318 |  |  | 3P/20A Non Fused Disconnect Switch | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
319 |  |  | 3P/30A Non Fused Disconnect Switch | EA | 6 | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0
320 |  |  | 3P/60A Fused Disconnect Switch, NEMA 3R | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
321 |  |  | 3P/60A Non Fused Disconnect Switch | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
GROUNDING
322 |  |  | 1/4" X 4" X 20" Ground Bus Bar | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
323 |  |  | Neutral Bus Bar | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
324 |  |  | 3/4" X 10' Long Copper Clad Ground Rod | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
325 |  |  | #1-1/4" PVC SCH 40 Conduit (Length Assumed) | LF | 75 | 10% | 82.5 | 0 | 0 | 0 | 0 | 0 | 0
326 |  |  | #500 CU Grounding Wire (Length Assumed) | LF | 75 | 10% | 82.5 | 0 | 0 | 0 | 0 | 0 | 0
327 |  |  | #3/0 CU Grounding Wire (Length Assumed) | LF | 45 | 10% | 49.5 | 0 | 0 | 0 | 0 | 0 | 0
POWER
DEVICE
328 |  |  | 4" Square Box For Thermostat | EA | 76 | 0% | 76 | 0 | 0 | 0 | 0 | 0 | 0
329 |  |  | Doorbell | EA | 70 | 0% | 70 | 0 | 0 | 0 | 0 | 0 | 0
330 |  |  | Pushbutton | EA | 70 | 0% | 70 | 0 | 0 | 0 | 0 | 0 | 0
331 |  |  | Tamper Resistant Duplex Receptacle | EA | 496 | 0% | 496 | 0 | 0 | 0 | 0 | 0 | 0
332 |  |  | Tamper Resistant Duplex Receptacle GFCI | EA | 382 | 0% | 382 | 0 | 0 | 0 | 0 | 0 | 0
333 |  |  | Tamper Resistant Quad Receptacle | EA | 82 | 0% | 82 | 0 | 0 | 0 | 0 | 0 | 0
334 |  |  | Tamper Resistant Quad Receptacle GFCI | EA | 76 | 0% | 76 | 0 | 0 | 0 | 0 | 0 | 0
335 |  |  | Transformer 120V, 60HZ/ 16V , 10VA | EA | 70 | 0% | 70 | 0 | 0 | 0 | 0 | 0 | 0
336 |  |  | 20A Special Receptacle | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
337 |  |  | Duplex Receptacle | EA | 82 | 0% | 82 | 0 | 0 | 0 | 0 | 0 | 0
338 |  |  | Duplex Receptacle, Above Counter | EA | 10 | 0% | 10 | 0 | 0 | 0 | 0 | 0 | 0
339 |  |  | Equipment Connection | EA | 187 | 0% | 187 | 0 | 0 | 0 | 0 | 0 | 0
340 |  |  | Floor Mounted Duplex Receptacle With Brushed Aluminum Cover Plates | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
341 |  |  | Floor Mounted GFCI Duplex Receptacle, Tele/Data Outlet | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
342 |  |  | Floor Mounted Quad Receptacle With Brushed Aluminum Cover Plates | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
343 |  |  | GFCI Duplex Receptacle | EA | 29 | 0% | 29 | 0 | 0 | 0 | 0 | 0 | 0
344 |  |  | GFCI Duplex Receptacle, Above Counter | EA | 8 | 0% | 8 | 0 | 0 | 0 | 0 | 0 | 0
345 |  |  | GFCI Duplex Receptacle, Weatherproof | EA | 6 | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0
346 |  |  | Manual Motor Rated Switch | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
347 |  |  | Motor Rated Switch | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
348 |  |  | Quad Receptacle | EA | 28 | 0% | 28 | 0 | 0 | 0 | 0 | 0 | 0
349 |  |  | Quad Receptacle, NEMA 5-15R (Included From Telecom Detail) | EA | 6 | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0
350 |  |  | Single Pole Single Through Switch | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
LIGHTING
LIGHTING FIXTURES
351 |  |  | Decorative Pendant Light/ Focus Booth | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
352 |  |  | Decorative Pendant Light/ Front Desk | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
353 |  |  | Decorative Wall Sconce Light | EA | 74 | 0% | 74 | 0 | 0 | 0 | 0 | 0 | 0
354 |  |  | Wall Sconce (Legend Assumed), Detail Not Given | EA | 318 | 0% | 318 | 0 | 0 | 0 | 0 | 0 | 0
355 |  |  | G01, Fixture Type (EXTERIOR LINEAR LED STRING LIGHT / 120V OUTDOOR RATED SOCKETS), Aperture/Optic/Finish (24-INCHES O.C. / FROST OR CLEAR LAMP), Dimming/CCT/CRI (FORWARD PHASE DIMMING / 2700K), Lumens/Watts (450 LUMENS PER LAMP / 5 WATTS / TCP FST19D4027E26SCL95 OR TCP FST1954027E26SFR95), Location/Notes (OUTDOOR LOUNGE AND GRILLING PATIO) | LF | 156.3 | 0% | 156.3 | 0 | 0 | 0 | 0 | 0 | 0
356 |  |  | G01, Track Heads | EA | 70 | 0% | 70 | 0 | 0 | 0 | 0 | 0 | 0
357 |  |  | R01,Fixture Type (2-inch Recessed LED Down Light), Aperture/Optic/Finish (2.5" / 30 Degree Optic / White Flange & Trim / Matte Finish), Dimming/CCT/CRI (0-10V, 1% to 100% Range / 2700K 90 CRI), Lumens/Watts (800 Lumens / 10 Watts), Location/Notes (Public Areas) | EA | 59 | 0% | 59 | 0 | 0 | 0 | 0 | 0 | 0
358 |  |  | R02,Fixture Type (6-inch Recessed LED Down Light), Aperture/Optic/Finish (5.5" / 30 Degree Optic / Black Flange & Trim / Matte Finish), Dimming/CCT/CRI (0-10V, 1% to 100% Range / 2700K 90 CRI), Lumens/Watts (800 Lumens / 10 Watts), Location/Notes (Wet Label Lens / Porte Cochere) | EA | 19 | 0% | 19 | 0 | 0 | 0 | 0 | 0 | 0
359 |  |  | R06,Fixture Type (4-inch Recessed LED Wall Washer), Aperture/Optic/Finish (3.5" / Lensed Optic / White Flange & Trim / Matte Finish), Dimming/CCT/CRI (0-10V, 1% to 100% Range / 2700K 90 CRI), Lumens/Watts (1800 Lumens / 23 Watts), Location/Notes (Lobby @ TV) | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
360 |  |  | R10,Fixture Type (4-inch Recessed LED Down Light), Aperture/Optic/Finish (4" / Wide Optic / White Flange & Trim / Matte Finish), Dimming/CCT/CRI (0-10V Dimming / 3000K 90 CRI), Lumens/Watts (1800 Lumens / 23 Watts), Location/Notes (Fitness & Guestroom Kitchen) | EA | 250 | 0% | 250 | 0 | 0 | 0 | 0 | 0 | 0
361 |  |  | R11, Fixture Type (4-inch Recessed LED Down Light), Aperture/Optic/Finish (4" / Narrow Optic / White Flange & Trim / Matte Finish), Dimming/CCT/CRI ( / 2700K 90 CRI), Lumens/Watts (900 Lumens / 14 Watts), Location/Notes (Guest Room Corridor) | EA | 70 | 0% | 70 | 0 | 0 | 0 | 0 | 0 | 0
362 |  |  | R20, Fixture Type (6-inch Recessed LED Down Light), Aperture/Optic/Finish (6" / Narrow Optic / White Flange & Baffle Trim / Matte Finish), Dimming/CCT/CRI ( / ), Lumens/Watts (900 Lumens / 14 Watts), Location/Notes (UL Wet Listed / Pool) | EA | 27 | 0% | 27 | 0 | 0 | 0 | 0 | 0 | 0
363 |  |  | S01, Fixture Type (Surface LED Linear Strip), Aperture/Optic/Finish (48-inch / Round Full Frost Lens / White Matte Finish), Dimming/CCT/CRI ( / 3000K), Lumens/Watts (4000 Lumens / 33 Watts), Location/Notes (Back-of-House) | EA | 18 | 0% | 18 | 0 | 0 | 0 | 0 | 0 | 0
364 |  |  | S02, Fixture Type (Surface LED Linear Strip), Aperture/Optic/Finish (48-inch / Round Full Frost Lens / White Matte Finish), Dimming/CCT/CRI (Integral Occupancy Sensor / DIM 10% TO 100% / 3000K), Lumens/Watts (5000 Lumens / 50 Watts), Location/Notes (Stairwells) | EA | 13 | 0% | 13 | 0 | 0 | 0 | 0 | 0 | 0
365 |  |  | S03, Fixture Type (Exterior LED Wall Sconce), Aperture/Optic/Finish (5-inch / Round Full Frost Lens / White Satin Finish), Dimming/CCT/CRI (Integral Occupancy Sensor / SET TO 10% DIM UNOCCUPIED, SET TO 100% OCCUPIED / 3000K), Lumens/Watts (600 Lumens / 10 Watts), Location/Notes (Exterior Entry & Outdoor Pool) | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
366 |  |  | S20, Fixture Type (6-inch Recessed LED Down Light), Aperture/Optic/Finish ( / Wide Optic / White Flange & Trim / Matte Finish), Dimming/CCT/CRI ( / 3000K 90 CRI), Lumens/Watts (600 Lumens / 10 Watts), Location/Notes (Wet-Label Lens / Public Restrooms) | EA | 12 | 0% | 12 | 0 | 0 | 0 | 0 | 0 | 0
367 |  |  | S21, Fixture Type (6-inch Recessed LED Down Light), Aperture/Optic/Finish ( / Wide Optic / White Flange & Trim / Matte Finish), Dimming/CCT/CRI ( / 2700K 800 CRI), Lumens/Watts (800 Lumens / 10 Watts), Location/Notes (Wet-Label Lens / Guestroom Bathroom) | EA | 148 | 0% | 148 | 0 | 0 | 0 | 0 | 0 | 0
368 |  |  | S22, Fixture Type (5-inch LED Sconce Down Light), Aperture/Optic/Finish (5-inch Tall / Wide Optic / White Flange & Trim / Matte Finish), Dimming/CCT/CRI ( / 3000K 90 CRI), Lumens/Watts (1000 Lumens / 10 Watts), Location/Notes (Wet-Label / Indoor Pool) | EA | 12 | 0% | 12 | 0 | 0 | 0 | 0 | 0 | 0
369 |  |  | T01, Fixture Type (Recessed LED 2x2), Aperture/Optic/Finish (2x2 / Flat White Lens / White Matte Finish), Dimming/CCT/CRI ( / 3000K), Lumens/Watts (2000 Lumens / 19 Watts), Location/Notes (UL Damp Listed, NSF Splash Zone 2 / Back-of-House) | EA | 24 | 0% | 24 | 0 | 0 | 0 | 0 | 0 | 0
370 |  |  | T02, Fixture Type (Recessed LED 2x2), Aperture/Optic/Finish (2x2 / Flat White Lens / White Matte Finish), Dimming/CCT/CRI ( / 3000K), Lumens/Watts (3000 Lumens / 30 Watts), Location/Notes (UL Damp Listed, NSF Splash Zone 2 / Food Prep) | EA | 10 | 0% | 10 | 0 | 0 | 0 | 0 | 0 | 0
371 |  |  | (10 EA) TR01 & TR10, Fixture Type (SURFACE MOUNT TRACK & TRACK MOUNT LED), Aperture/Optic/Finish (3-INCH DIAMETER, 5-INCH LONG ROUND / ADJUSTABLE OPTIC 17 TO 53 DEGREE / WHITE MATTE FINISH AT WHITE CEILINGS & BLACK MATTE FINISH AT DARK CEILINGS), Dimming/CCT/CRI (VOLTAGE ELV DIMMING / 3000K 90 CRI), Lumens/Watts (800 LUMENS / 10 WATTS), Location/Notes (BOD: JUNO R620L SERIES / FRONT DESK, BREAKFAST, MARKET, DISPLAY WALL) | LF | 80 | 0% | 80 | 0 | 0 | 0 | 0 | 0 | 0
372 |  |  | TR01 & TR10: Track Heads | EA | 38 | 0% | 38 | 0 | 0 | 0 | 0 | 0 | 0
373 |  |  | Wall Mounted Emergency Light With Two Heads | EA | 24 | 0% | 24 | 0 | 0 | 0 | 0 | 0 | 0
374 |  |  | Wall Mounted Single Face Exit Sign Light | EA | 10 | 0% | 10 | 0 | 0 | 0 | 0 | 0 | 0
375 |  |  | Ceiling Mounted Single Face Exit Sign Light | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
376 |  |  | Ceiling Mounted Double Face Exit Sign Light | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
LIGHTING CONTROL
377 |  |  | Single Pole Single Through Switch | EA | 382 | 0% | 382 | 0 | 0 | 0 | 0 | 0 | 0
378 |  |  | 3 Way Switch | EA | 16 | 0% | 16 | 0 | 0 | 0 | 0 | 0 | 0
379 |  |  | Single Pole Occupancy Sensor Switch | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
380 |  |  | Automatic Dimming Occupancy Sensor, Ceiling Mounted | EA | 9 | 0% | 9 | 0 | 0 | 0 | 0 | 0 | 0
MISCELLANEOUS
381 |  |  | Junction Box | EA | 286 | 0% | 286 | 0 | 0 | 0 | 0 | 0 | 0
382 |  |  | Junction Box, Wall Mounted | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
383 |  |  | Junction Box WP, Wall Mounted | EA | 14 | 0% | 14 | 0 | 0 | 0 | 0 | 0 | 0
384 |  |  | Junction Box, Weatherproof (For Pool) | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
385 |  |  | Recessed Junction Box Floor Through Millwork | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
386 |  |  | Dual Sided Pop-Up Counter Outlet | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
387 |  |  | Floor Mounted Junction Box With Push Button, Weatherproof | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
ALLOWANCE
388 |  |  | Allowance For All Electrical Wire, Conduit (47094 SF) | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | SUBTOTAL | 0
COMMUNICATION
| Sheet # E-301, E-302, E-303, E-304 | From Electrical Drawings | TELECOMMUNICATION
DEVICES
389 |  |  | Telephone Outlet | EA | 92 | 0% | 92 | 0 | 0 | 0 | 0 | 0 | 0
390 |  |  | 3 Port Telephone Outlet | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
391 |  |  | Tele/Data Outlet | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
392 |  |  | Data Outlet | EA | 54 | 0% | 54 | 0 | 0 | 0 | 0 | 0 | 0
393 |  |  | Television Outlet | EA | 80 | 0% | 80 | 0 | 0 | 0 | 0 | 0 | 0
394 |  |  | WAP, Wireless Access Point in 3-Gang Box W/ Faceplate | EA | 70 | 0% | 70 | 0 | 0 | 0 | 0 | 0 | 0
395 |  |  | 4' X 8' X 3/4" Plywood Back Board (Included From Telecom Detail) | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
ACCESS CONTROL
DEVICES
396 |  |  | Card Reader | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
397 |  |  | Access Control Cabinet | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
INTERCOM
DEVICES
398 |  |  | Intercom Push Button | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
MISCELLANEOUS
399 |  |  | Junction Box | EA | 241 | 0% | 241 | 0 | 0 | 0 | 0 | 0 | 0
400 |  |  | Face Plate | EA | 240 | 0% | 240 | 0 | 0 | 0 | 0 | 0 | 0
ALLOWANCE
401 |  |  | Allowance For All Communication Wire, Conduit (47094 SF) | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | SUBTOTAL | 0
ELECTRONIC SAFETY AND SECURITY
| Sheet # E-301, E-302, E-303, E-304 | From Electrical Drawings | FIRE ALARM
DEVICES
402 |  |  | Fire Alarm Manual Pull Station | EA | 9 | 0% | 9 | 0 | 0 | 0 | 0 | 0 | 0
403 |  |  | Fire Alarm Visual Device | EA | 12 | 0% | 12 | 0 | 0 | 0 | 0 | 0 | 0
404 |  |  | Fire Alarm Audio/Visual Device | EA | 14 | 0% | 14 | 0 | 0 | 0 | 0 | 0 | 0
405 |  |  | Fire Alarm Horn Strobe | EA | 143 | 0% | 143 | 0 | 0 | 0 | 0 | 0 | 0
406 |  |  | Smoke Detector | EA | 101 | 0% | 101 | 0 | 0 | 0 | 0 | 0 | 0
407 |  |  | Tamper Switch | EA | 6 | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0
408 |  |  | Flow Switch | EA | 6 | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0
409 |  |  | Fire Alarm Extender Panel | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
410 |  |  | Fire Alarm Control Panel, With 24H Battery Backup | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
411 |  |  | Access Control Panel | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
412 |  |  | Carbon Monoxide Detector (Included From FA Riser) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
413 |  |  | Heat Detector | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
414 |  |  | Remote Annunciator (Included From FA Riser) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
415 |  |  | Fire Alarm Strobe (Included From FA Riser) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
416 |  |  | Elevator Controller (Included From FA Riser) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
MISCELLANEOUS
417 |  |  | Junction Box | EA | 301 | 0% | 301 | 0 | 0 | 0 | 0 | 0 | 0
418 |  |  | Face Plate | EA | 301 | 0% | 301 | 0 | 0 | 0 | 0 | 0 | 0
ALLOWANCE
419 |  |  | Allowance For All Electronic Safety And Security Wire, Conduit (47094 SF) | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | SUBTOTAL | 0
UTILITIES
| Sheet # E-102 | From Electrical Drawings | DISTRIBUTION
DEVICES
420 |  |  | Concreted Pad (For Utility Transformer) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
421 |  |  | Concreted Pad (For Utility Switch) | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
DISCONNECT SWITCH
422 |  |  | 2P/30A Non Fused Disconnect Switch, NEMA 3R | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
GROUNDING
423 |  |  | 3/4" X 10' Long Ground Rod | EA | 12 | 0% | 12 | 0 | 0 | 0 | 0 | 0 | 0
424 |  |  | #4 CU Grounding Wire | LF | 96 | 10% | 105.6 | 0 | 0 | 0 | 0 | 0 | 0
POWER
DEVICE
425 |  |  | Single Pole Switch, Weatherproof (For Signage) | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
426 |  |  | Single Pole Switch, Weatherproof | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
427 |  |  | GFCI Duplex Receptacle, Weatherproof | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
428 |  |  | Equipment Connection | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
SITE LIGHTING
LIGHTING FIXTURES
429 |  |  | P1,Series LED area Fixture, MFG:LITHONIA, MDL: DSK1-LED-P1-50K-80CRI-T3M-EGS-F, Lamp Type (LED), Lumens (4412), Watts (50.9), Total Watts (152.7), Voltage (208), Mounting (25' ROUND STEEL POLE) | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
430 |  |  | 25' Round Steel Pole | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
431 |  |  | Hand Hole | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
432 |  |  | Heads | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
433 |  |  | Concrete Base | EA | 3 | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0
434 |  |  | P2, Series LED area Fixture: LITHONIA, MDL:DSK2-LED-PD-50K-80CRI-T5WLG-EGS), Lamp Type (LED), Lumens (14483), Watts (134.5), Total Watts (672.5), Voltage (208), Mounting (25' ROUND STEEL POLE) | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
435 |  |  | 25' Round Steel Pole | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
436 |  |  | Hand Hole | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
437 |  |  | Heads | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
438 |  |  | Concrete Base | EA | 5 | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0
439 |  |  | P3, Series LED area Fixture, MFG:LITHONIA, MDL: DSK2-LED-50K-80CRI-T4LG-EGS, Lamp Type (LED), Lumens (15673), Watts (134.5), Total Watts (538), Voltage (208), Mounting (25' ROUND STEEL POLE) | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
440 |  |  | 25' Round Steel Pole | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
441 |  |  | Hand Hole | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
442 |  |  | Heads | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
443 |  |  | Concrete Base | EA | 4 | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0
FIRE ALARM
DEVICES
444 |  |  | Tamper Switch, Weatherproof | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
445 |  |  | Flow Switch, Weatherproof | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
MISCELLANEOUS
446 |  |  | Junction Box, NEMA 3R | EA | 7 | 0% | 7 | 0 | 0 | 0 | 0 | 0 | 0
447 |  |  | 12X18" Telecommunication Hand Hole | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
448 |  |  | 36" X 48" X 36" Deep Quazite Hand Hole And Cover Engraved | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
449 |  |  | Junction Box | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
450 |  |  | Face Plate | EA | 2 | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0
ALLOWANCE
451 |  |  | Allowance For All Utility Wire, Conduit (79364 SF) | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
| SHEET#PS-100 | From Plumbing Site Plans | GAS UTILITES
452 |  |  | Gas Meter | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
453 |  |  | Regulator | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
454 |  |  | 1-1/2" Dia Gas Solenoid Valve | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
GAS PIPE (UNDERGROUND)
Polyethylene SDR-11 ASTM D513 Standards And Fittings
455 |  |  | 1-1/2" Dia Gas Pipe | LF | 56 | 10% | 61.6 | 0 | 0 | 0 | 0 | 0 | 0
456 |  |  | 3/4" Dia Gas Pipe | LF | 169 | 10% | 185.9 | 0 | 0 | 0 | 0 | 0 | 0
457 |  |  | 1" Dia Gas Pipe | LF | 12 | 10% | 13.2 | 0 | 0 | 0 | 0 | 0 | 0
GAS PIPE FITTINGS
ALLOWANCE
458 |  |  | Allowance For Gas Pipe Fittings (79364 SF) | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
PLUMBING UTILITIES
459 |  |  | COTG | EA | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
WASTE PIPE (BELOW GROUND)
Schedule 40 PVC Pipe With ASTM Standards And Fittings (Assumed)
460 |  |  | 8" Dia Waste Pipe | LF | 5 | 10% | 5.5 | 0 | 0 | 0 | 0 | 0 | 0
WASTE PIPE FITTINGS
ALLOWANCE
461 |  |  | Allowance For Waste Pipe Fittings ( 79364 SF) | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
COLD WATER PIPES (BELOW GROUND)
Copper Type "K" With ASTM Standards And Fittings (Assumed)
462 |  |  | 3" Dia Cold Water Pipe | LF | 7 | 10% | 7.7 | 0 | 0 | 0 | 0 | 0 | 0
1/2" Thick Fiber Mineral Insulation With ASTM Standards
463 |  |  | 3" Dia Cold Water Pipe | LF | 7 | 10% | 7.7 | 0 | 0 | 0 | 0 | 0 | 0
COLD WATER PIPE FITTINGS
ALLOWANCE
464 |  |  | Allowance For Cold Water Pipe Fittings ( 79364 SF) | LS | 1 | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0
TRENCHING & BACKFILLING
465 |  |  | Trenching And Backfilling For The Installation Of Pipes | CFT | 750 | 0% | 750 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | SUBTOTAL | 0
PROJECTED COST | [12 empty] | 0
OVERHEAD AND PROFIT | [11 empty] | 15% | 0
INSURANCE | [11 empty] | 0% | 0
CONTINGENCY | [11 empty] | 0% | 0
TAX | [11 empty] | 0% | 0
SUGGESTED BID | [12 empty] | 0
Notes:
1. Online sources are used for pricing.
2. Prices can vary depending upon field conditions.

## Duct Takeoff
BREAKDOWN OF DUCT ITEMS
Prepared for: | A New 70 Room Home 2 Hotel Project At Gh Drive Austinberg, OHIO, 44010
Project ID: | 46002
Scope: | MEP
|  |  |  | Date: | 2025-12-11
SR # | DESCRIPTION | UNIT | QUANTITY | WASTAGE | QUANTITY W/ WASTAGE
HVAC
GALVANIZED SHEET METAL DUCT
1 | 4" Dia Supply Air Duct | LF | 843 | 10% | 927.3
2 | 6" Dia Supply Air Duct | LF | 17 | 10% | 18.7
3 | 8" Dia Supply Air Duct | LF | 72 | 10% | 79.2
4 | 12" Dia Supply Air Duct | LF | 6 | 10% | 6.6
5 | 6"x6" Supply Air Duct | LF | 141 | 10% | 155.1
6 | 8"x6" Supply Air Duct | LF | 54 | 10% | 59.4
7 | 8"x8" Supply Air Duct | LF | 150 | 10% | 165
8 | 10"x10" Supply Air Duct | LF | 147 | 10% | 161.7
9 | 12"x8" Supply Air Duct | LF | 42 | 10% | 46.2
10 | 12"x10" Supply Air Duct | LF | 12 | 10% | 13.2
11 | 14"x8" Supply Air Duct | LF | 75 | 10% | 82.5
12 | 14"x10" Supply Air Duct | LF | 27 | 10% | 29.7
13 | 14"x12" Supply Air Duct | LF | 10 | 10% | 11
14 | 16"x12" Supply Air Duct | LF | 16 | 10% | 17.6
15 | 16"x14" Supply Air Duct | LF | 29 | 10% | 31.9
16 | 18"x8" Supply Air Duct | LF | 226 | 10% | 248.6
17 | 18"x12" Supply Air Duct | LF | 55 | 10% | 60.5
18 | 18"x18" Supply Air Duct | LF | 56 | 10% | 61.6
19 | 22"x12" Supply Air Duct | LF | 70 | 10% | 77
20 | 22"x14" Supply Air Duct | LF | 42 | 10% | 46.2
21 | 24"x24" Supply Air Duct | LF | 20 | 10% | 22
22 | 22"x12" Supply Air Duct W/Lining | LF | 26 | 10% | 28.6
23 | 12"x10" Supply Air Duct W/Lining | LF | 34 | 10% | 37.4
24 | 6"x6" Return Air Duct | LF | 2 | 10% | 2.2
25 | 8"x8" Return Air Duct | LF | 28 | 10% | 30.8
26 | 10"x10" Return Air Duct | LF | 116 | 10% | 127.6
27 | 12"x12" Return Air Duct | LF | 4 | 10% | 4.4
28 | 14"x14" Return Air Duct | LF | 23 | 10% | 25.3
29 | 16"x14" Return Air Duct | LF | 32 | 10% | 35.2
30 | 22"x10" Return Air Duct | LF | 7 | 10% | 7.7
31 | 22"x12" Return Air Duct | LF | 35 | 10% | 38.5
32 | 22"x14" Return Air Duct | LF | 37 | 10% | 40.7
33 | 22"x22" Return Air Duct | LF | 5 | 10% | 5.5
34 | 8"x8" Outside Air Duct | LF | 49 | 10% | 53.9
35 | 16"x12" Outside Air Duct | LF | 3 | 10% | 3.3
36 | 4" Dia Round Vent Duct | LF | 21 | 10% | 23.1
37 | 6" Dia Round Vent Duct | LF | 8 | 10% | 8.8
38 | 8" Dia Round Vent Duct | LF | 71 | 10% | 78.1
39 | 4" Dia Exhaust Air Duct | LF | 1408 | 10% | 1548.8
40 | 6" Dia Exhaust Air Duct | LF | 14 | 10% | 15.4
41 | 6"x6" Exhaust Air Duct | LF | 12 | 10% | 13.2
42 | 8"x8" Exhaust Air Duct | LF | 59 | 10% | 64.9
42 | 12"x12" Exhaust Air Duct | LF | 24 | 10% | 26.4
43 | 10"x10" Transfer Air Duct | LF | 8 | 10% | 8.8